TENDER FOR THE PROPOSED

FURNITURE , CIVIL & ELECTRICAL  WORK

OF PEN BRANCH PREMISES,

AT GOPAL NIWAS, M.G.ROAD,

NEAR S.T.STAND,PEN,

DIST. RAIGAD -402107.

.

FOR THE ORIENTAL INSURANCE CO.LTD.MRO 3 ,

TOWN CENTRE,6TH FLOOR, ANDHERI  KURLA ROAD, MAROL,

ANDHERI (EAST),MUMBAI 400 059.

: PART-I :

: TECHNICAL BID :

: Envelope No. I:

ARCHITECT : RASHMIN BHANDARE

Shanta Kunj, D.S.Babrekar Marg,

Gokhale Road ( North), Dadar,

Mumbai-400028.

Tel : 9892067458

Date of Pre Bid Meeting  :             16  /  01  /  2017 at 3.30 p.m.

Date of Tender Submission  :        23 /    01 / 2017   before 3.00 p.m.

Total No. of pages  :   Technical Bid  :    27Nos

: 1:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

: Appendix Showing the Important Schedules :

1.Date  of commencement of  Work		:  Immediately  after issue of  work order / tender 	 						                  acceptance or handing over site whichever is later.

2. Date of  completion of  Work		 :   6 weeks from date of  commencement.

3. Earnest Money deposit 		                :  Rs. 28,000/  to be paid along with the Tender by DD

3.1 Tender Fee                                                 :  Rs.1500/- to be paid along with the Tender by DD

4. Security Deposit 			:  ..Rs 56,000/ -  (includes Earnest Money Deposit)

5. Defect  Liability period			  :  12 months after completion of work,

5. Retention Percentage 		                 :  10%  of  cost of the works executed + Security Deposit

6. Refund of Retention Money                           : To be refunded to the contractor thirty days after the

end of Defects Liability period.

7. Penalty  for delay in work                 	   :   Rs. 1000/- per day subject to max. 10% of  the in

( Liquidated Damages)                                          Completion  of work contract amount.

8. Minimum Value of  work for Interim Bills.	   :  Rs. 10,00,000/- (Rupees Ten Lacs only )

9. Deviation limit                                                 : 20 %

10.  Period for honoring Interim Certificate 	    :  Within 15 days of  issue of Certificate from Architect

11. Period of Final Measurement                        : 15 days after virtual completion of work

12.Period of  honoring Final Certificate	    :  30 days from the date of  issue of  Certificate

13. Income Tax deduction                                   : At prevailing rate from each bill

14. Tender validity period                                    : 6 Months from the date of work order.

: 2:                                        Seal & Signature of the contractor

Rashmin Bhandare

Architect

:  IMPORTANT :

The Contractor should satisfy himself that no paper or document from this Sealed Document is missing while submitting this tender consisting of  1   to   27     pages

Tender issued to

…………………………………………………

………………………………………………..

…………………………………………………

Issued by :

Chie Regional Manager,

Mumbai Regional Office No.3

Town Centre,6th Floor,

Marol, Andheri Kurla Road,

Andheri(East),

Mumbai 400 059.

….3....                                                   Seal & Signature of the contractor

Rashmin Bhandare

Architect

.. NOTICE  INVITING  THE  TENDER ...

ESTIMATED VALUE OF WORKS : 11.17 Lacs

We herewith request you to please quote the competitive rates for the above work.  Tender Form can  be downloaded from the Company's website:www.orientalinsurance.org.in Those contractors who down load the Technical & Financial Bid from Company’s web site should remmit Tender Fee of Rs.1500/- by D.D favouring THE ORIENTAL INSURANCE COMPANY LIMITED alongwith the EMD.Your tender shall reach to COMPANY’S office not later than  3.00 p.m. on   23      /  01   / 2017  along with Earnest Money Deposit( E.M.D.) of Rs.28,000/-  by way of  Demand Draft ( NO CHEQUE IS ACCEPTED ) favouring The Oriental Insurance Co. Ltd. ( payable at Mumbai only )   for proper execution of contract.  The earnest money deposit will not bear any interest.  The earnest money deposit will be forfeited in the event of  any evasion refusal or delay in the part of the tenderer to sign and execute the contract on acceptance of  his tender.  The money deposit without any interest will be returned to the tenderer whose tenders are not accepted. We are enclosing herewith the tender document. You shall please base your rates after verifying the site conditions etc.

Earnest money converted into security deposit if  tender is accepted. The security deposit will form the part of the performance guarantee, which shall not bear any interest.  The amount will be refunded to you on completion of  the defects liability period.  The entire job is to be completed within 6 weeks from the date of work order.

Tenders are invited into two bid system i.e. “Technical bid” and “Financial bid”.

The tender should be submitted in the following manner and shall contain detailed documents as listed below

Envelope no. 1 Part I  ( Technical Bid )  General Conditions of Contract,  Appendix , Non Relationship certificate & E.M.D.of Rs.28,000/-

Envelope no. 2 Part II ( Financial  Bid ) – Specifications ,Schedule of  quantities.

The “Financial bid” shall be contained in a closed sealed envelope no. 2 superscribed as “Financial bid”. The financial bid shall contain (Schedule of Quantities) duly filled in by the intending tenderers. This shall form the part of the agreement.

Envelope no. 3

Both the sealed envelopes of “Technical bid” and “Financial bid” should be kept in this third envelope and the sealed envelope superscribed with the name of work on the top of envelope PROJECT for Furniture, Civil & Electrical  works at  Belapur Branch  Premises , Navi Mumbai. and shall be deposited in the sealed tender box at Estate Dept , The Oriental Insurance Company Ltd.Mumbai Regional Office No.3,Town Centre, 6th Floor, Marol, Andheri Kurla Road,Andheri (East), Mumbai on or  before  23     /   01  / 2017 not later than

3.00 pm.  The tender received in any manner other than prescribed above shall be summarily rejected. The company will not accept any responsibility for the tender lost in transit. The tenderer’s are advised to visit, inspect Carefully the site. At first instance technical bid shall be opened . The technical bid will then be evaluated on the basis of documents/information furnished as also if necessary, after physical examination of the tenderers office/workshop & projects successfully executed by them. The criteria followed by the company will be at its sole discretion and will not be open to question. The contractors who shall qualify in the technical bid will only be eligible for the opening of their financial bid Date of which shall be intimated to all technically qualified bidders.

….4.....                                        Seal & Signature of the contractor

Rashmin Bhandare

Architect

Kindly note that

a) Unsealed Technical Bid & Financial  Bids will not be accepted.

b) Any Tender received in any manner other than prescribed above shall be summarily rejected.

c) Any Tender after the due date & time shall not be considered.

d) E.M.D. will be refunded without any interest to all unsuccessful tenderers after

award of the work subject to the relevant provisions in the tender documents.

e) Any false information furnished by the contractor shall lead to the forfeiture of the earnest money.

f)Canvassing whether directly or indirectly in connection with the tender is strictly prohibited and the tenders submitted by the contractors who resort to canvassing in any form would be liable to rejection.

g)The tenderer shall unconditionally accept terms & conditions of the company. Conditional offer shall be summarily rejected. THE ORIENTAL INSURANCE CO. LTD. RESERVES THE RIGHT TO ACCEPT ANY, IN PART OR IN FULL OR REJECT ALL TENDERS  WITHOUT ASSIGNING ANY REASON THEREOF.

The rates mentioned in the tender are inclusive of  All duties / taxes / levies / octroi / transport / VAT/ Service Tax /  charges etc. and shall remain firm till the entire completion of  the work, no escalation in price will be payable for what - so ever reason.

Tender notice shall form the part of  the contract.

Thanking you

Yours faithfully,

Encl : as above.

...5...                                        Seal & Signature of the contractor

Rashmin Bhandare

Architect

: PART - I :

: TECHNICAL BID :

: Envelope No.I : TECHNICAL BID :

Date of Pre Bid Meeting  :          16      /   01    /  2017 at 3.30 p.m.

Date of Tender Submission  :    23   /  01     / 2017   before 3.00 p.m.

ARCHITECT : RASHMIN BHANDARE

Shanta Kunj, D.S.Babrekar Marg,

Gokhale Road ( North), Dadar,

Mumbai-400028.

Tel : 9892067458

Total No.of pages : Technical Bid :  27 Nos

Seal & Signature of the contractor

….6..

Rashmin Bhandare

Architect

FORMAT TO BE FILLED UP, SIGNED BY THE AUTHORIZED SIGNATORY AND SUBMITTED TO THE ORIENTAL INSURANCE CO.LTD.MRO 3  IN SEALED COVER SUPERSCRIBING THE NATURE OF WORK AS TENDER FOR FURNITURE ,CIVIL & ELECTRICAL WORK  OF PEN BRANCH  PREMISES ALONG WITH  E.M.D.OF RS.28,000/- FAVOURING THE ORIENTAL INSURANCE CO.LTD. and also TENDER  FEE  DD OF RS.150O/- SEPERATELY

--------------------------------------------------------------------------------------------------------------------------------------------------------------

The intending contractors should submit the following details in the technical bid duly contained in closed sealed Envelope no. 1 super scribed as “Technical bid”:

1.  Name of the organization   :

2. Address of the Office  with Tel / Email / Fax

3. Year of establishment :

4. Status of firm ( whether company /

firm/ proprietary) :

5.  Copy of Permanent  Account No ( PAN) :

6.  Copy of Registration with Work contract Tax Dept.

VAT / TIN  / Service Tax  No.

7.     Average Annual Financial Turn over. Balance sheet duly certified

by the Chartered Accountant shall be submitted for the last

3 Financial years ending 31st  March of the previous year. The turn over should

be at least 30% of the estimated cost of the Proposed Project.

8.  Name  & address of Bankers :

Proof of Financial capacity ( Proof from bankers for execution

of the projects within a period of  5 weeks )

9)  Relationship with the Employees :A Non-relationship Certificate is required to be submittded as per the following format alongwith the Technical Bid. The EstateDept of MRO 1 ( OICL ) will debar the parties from tendering having relatives working in THE ORIENTAL INSURANCE CO.LTD. in any capacity.: Participation of near relatives of Employees in the tender / execution of works:

I  /  We  / Our organization ……………………………………………………………………………….

including our Partners / Share holders / Directors hereby certify that none of my  / our relative (s)

is  / are employed in THE ORIENTAL INSURANCE CO.LTD .

In case at any stage  if it is found that the information given by me /us  is   false/ incorrect .

THE ORIENTAL INSURANCE CO.LTD .shall  have the absolute right to take any action

as deemed fit without any prior intimation to me /us.

...7....			       Seal & Signature of the contractor

Rashmin Bhandare

Architect

10) Completion certificate of successful completion of similar works from the client shall be submitted. The works executed during last 3 years ending last day of month previous to the one in which applications are invited should be either of the following.

a.) One similar completed works costing not less than the amount equal to 80% of the estimated cost (or )

( i.e.Rs. 9 Lacs)

b.) Two similar completed works costing not less than the amount equal to 50% of the estimated cost. (or)

( i.e.Rs.6 Lacs)

c) Three similar completed works costing not less than the amount equal to 40% of the estimated cost.

( i.e.Rs. 4.50Lacs)

DEFINITION OF “SIMILAR WORK” means FURNITURE ,CIVIL & ELECTRICAL WORK

11)  Latest Workman’s Insurance Policy Number with copy thereof

12). Details of projects in hand with names of the clients,  address & phone nos.

13).Earnest money of Rs. 28,000/- ( TWENTY EIGHT THOUSAND  ONLY /- ) In the form of Demand Draft from a bank in favour of “The Oriental Insurance Co. Ltd.”. payable at Mumbai The Earnest Money will be refunded without any interest to all the unsuccessful tenderers after the award of the work subject to the relevant provisions in the tender documents. Any false information furnished by the contractor shall lead to the forfeiture of the earnest  money.

Note :

1)  Submit the relevant papers in order

2) Please ensure  that all relevant papers are attached separately along with this format

3) Incomplete format will be rejected

4) Contractor will be liable for Rejection /Disqualification / Termination of the contract if found having given the false information at any stage of selection / execution of work etc. Company reserves the right to reject any contractor without giving any reason.

5.) Any concealment of fact or misrepresentation will make the Technical Bid VOID.

6) Before commencement of the work the following undertaking to be submitted by the contractor on letterhead I   I /  We  / Our organization ……………………………………………………………………………….

including our Partners / Share holders / Directors hereby certify that our Company is not blacklisted

by any Public Sector Undertaking and / or having  dispute with any Public Sector Undertaking

In case at any stage  if it is found that the information given by me /us  is   false/ incorrect .

THE OREINTAL INSURANCE CO.LTD. .shall  have the absolute right to take any action

as deemed fit without any prior intimation to me /us

…..8....  			                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

: CONTRACTOR’ S LETTER :

Date:

SUB: TENDER FOR PROPOSED FURNITURE ,CIVIL & ELECTRICAL WORK OF PEN BRANCH  PREMISES..

------------------------------------------------------------------------------------------------------------------------------------------------------------------

Dear Sir,

This  has reference  to  the  invitation  for  the  tender of  the  above  work. We  are  interested  to  carry  out  the  work  as  contractors  and  offer  herewith  to  execute  the  work  under  contract  at  the  rates  mentioned  in  the  schedule  of  quantities  hereinafter . We have quoted the rates on verifying the site conditions.

I/We  have  examined ,  studied  and  read  all  the  specifications & conditions in  detail .  We  have  also  read  all  the  tender  papers and  hereby  agree  to  carry  out  to  work  accordingly . We also enclose D.D. of Rs.28,000/- ( Rupees Twenty Eight thousand   only)  ) as E.M.D. favouring  THE ORIENTAL INSURANCE CO.LTD. payable at Mumbai only.

I/We  also assure  you  and  agree  to  carry  out execute , finish  the  entire  job WITHIN  6 WEEKS   from  the  date  of commencement of work. Further  we  also  agree  to  start  the  work immediately  of  the issue of letter of intent / work  order.

Thanking  you  &  assuring  you  of  our  best  services .

Yours  faithfully ,

Signature of the contractor.                                                                                  Seal & Address

Date.

: 9 :

Rashmin Bhandare

Architect

: GENERAL  CONDITIONS  OF CONTRACT :

- Contractor shall fill the tender in English .

- They shall inspect the site in advance and ascertain themselves with all the rules and regulations of the premises  with regard stair-cases , entrances etc .

- Contractor shall carry out the work strictly as per the plans and drawings and as

per the specifications and instructions .

- The site shall be kept neat and clear of debris , saw dust nails, creams , plaster of paris

broken tiles shall be removed  from site after the work is over and the premises shall

be available absolutely clean.

5. The work of Electrical Installations, water supply & other related civil works shall be carried out simultaneously and co-ordinate properly by the contractor , and through experts licensed personal .

6.All quantities are probable quantities and subject to revision , subtraction , addition  or omission as per the choice of the owners and no extra claim will be entertained . On account of addition , omission ,subtraction and /or revision . The payment shall be made on actually executed quantities for the respective items .

7.The contractor shall be responsible for the injury to their workmen and damages to the entire property / adjoining properties etc. And the contractor shall insure their All workmen according to the “ Workmen’s Compensation Act” and comply with E.S.I.C. Act or any other acts related to labourers as applicable in India.

8. The rate quoted for various items , shall include all the taxes ,such as works contract tax general tax , octroi , royalties ,duties , transport  charges ,that are applicable on any item and the quoted rates shall be final price for individual item and shall be firm through out the duration of the contract .

9. The contractor shall give guarantee for the work executed and shall be responsible for the defects occured during the period of 12 months after the completion and shall rectify the same at his own cost . The deposit will be returned to him on completion to the fullest satisfaction of the Architect .

10.The extra items rates shall be finalized with the Architect in advance and shall be based on the rates quoted already. The final decision regarding the extra item rates will be with be with architects and shall be binding on both the parties.

11. Work shall be carried out under the supervision and direction of appointed Architect.

12. The Architect or his authorized representative shall have access to the site of the successful tenderer during the execution  of the entire work etc. so as to ensure themselves of the quality of material and workmanship .

13. In case of non-completion of work within the stipulated time and such extended time as may be agreed upon by the owner in writing in advance , contractor will be liable for penalty @ Rs .1000/-per day for  the delayed period .

14. The retention amount at 10 % will be deducted from every bill and will be returned to his on completion AFTER DEFECT LIABILITY PERIOD OF 12 MONTHS  as certified by the Architect.

: 10:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

15. The item rate specifications are indicative , the contractor will have to carry out the work in accordance  with the drawings technical specifications / or other conditions laid down in the tender documents and to the full satisfaction of the Architect & owner .

16. The total of the alternate items and items included for rate purpose only are not to be included in the summary above .

17.  SALE TAX / VAT / SERVICETAX/ OCTROI / TRANSPORT and other Relevant Taxes  wherever applicable shall be included in the tender rate of the item quoted

18. The Contract is neither a fixed lump sum contract , nor a piece work contract , but it is a contract to carry out the work in respect of the entire work to be paid for , according to actual measurement taken at site and the tender rates contained in the Schedule of Rates and Probable Quantities .

19. The Contractor whose tender is accepted shall enter into a regular Contract Agreement with the Owner embodying these conditions ,in addition to the tender documents with Schedule of Rates and probable quantities and specifications .

20. The Contractor must obtain for himself on his own responsibility for taking all relevant permissions from D..M.C. ( Dombivali  Municipal Corporation) , Heritage Committee or any other STATUTORY AUTHORITY

at his own expenses. Also all the information which may be necessary for the purpose of completing a tender and for entering into a contract and must examine the drawings and must consider and inspect the site of work and acquaint himself with all local condition , means of access to the work nature of the work and all matters  appertaining thereto . No allowance shall be made to him for lack of full  knowledge of the conditions .ITEM NO.20 ABOVE MEANS THAT LIAISONING WORK AT CONTRACTOR’S COST FOR  TAKING NECESSARY PERMISSION FROM :

a) Asst. Engineer ( Bldg. & factories ) P.M.C.  regarding civil  work with addition & alterations. So also furniture work.

b) P.M.C.  ward Hydraulic dept. water & sanitary works .

c) P.M.C. ward Malaria dept. for erection of Sintex water tank.

e) Higher capacity meter from Maharshtra  Electricity Board also carrying out other formalities.

f)  Other  local authorities.

g) Stability certificate from structural Engineer

PLEASE ALSO NOTE THAT NO EXTRA ALLOWANCE SHALL BE MADE TO THE CONTRACTOR  FOR LACK OF FULL KNOWLEDGE OF THE CONDITIONS. ONLY OFFICIAL RECEIPT PAYMENTS  WILL BE MADE BY  THE ORIENTAL INSURANCE CO.LTD. ALSO  WRITTEN PERMISSIONS ARE REQUIRED BEFORE COMMENCEMENT OF THE WORK

21. The Architects and Designers reserve to themselves the right of altering nature of work or adding to or omitting any items of work or having portions of the same carried out without prejudice to the contract .

22.The calculations made by the tenderer should be based upon the probable quantities of the several items of work furnished for the tenderer s convenience in the Schedule of Quantities , but it must be clearly understood that the contract is not a lumpsum contract that neither the probable quantities ,nor the value of the individual items nor the aggregate value of the entire tender will form part of the contract and that the owner does not in any way assure the tenderer or guarantee that the said probable quantities are correct or that the work would correspond thereto .

: 11:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

23. The contractor shall submit the bills for payments along with detailed statement showing the actual works carried out under different heads .Minimum value of the work for interim payment shall be

Rs. 10,00,000/  (Rupees Ten  Lacs only) All quantities in the bill should be in cumulative. All measurements should be in order of tender sequence.

24.The contractor shall have a competent  supervisor on the site all the time.

25.The contractor and his authorized representative will attend all the meeting with the owners

whenever called for and the decision taken in the meeting will be binding on the contractor.

26. The Schedule of Quantities is liable to alterations by omission deductions or additions at the discretion of the Architect . Each item shall contain not only the rates  but also the value of each item of work entered in a separate column and all the items should be totaled   up in order to show the aggregate value of the entire tender. All corrections in the tender scheduled shall be duly attested by the dated initials of the tenderer .Corrections which are not attested entail the rejection of the tender .

27. The Contractor has to make his own arrangement for purchase of all materials including cement .The owners will not be responsible for making any arrangement for procuring these materials.

28.Time shall be considered as the essence of this contract and the Contractor hereby agree to commence the work soon after the Contract  is signed and to complete the entire work within stipulated period .

29.The contractor will not be paid any advance against the material brought at site.

30.No escalation in the rates will be allowed under any circumstances, time should be considered as essence of the contract.

31.No accommodation for the labourers will be allowed within / outside the building compound.

32.Execution of extra items shall be carried out prior to approval of Rate with rate analysis

From the owner / Architect on the basis of the following guidelines:

Actual cost of material + Actual cost of labour + 20% as overheads & profit.

33.MR. RASHMIN BHANDARE is the Architect for this entire project. The Contractor has to take approval of SAMPLE &  MAKE   from him and complete the entire civil repair & water supply work to the ENTIRE SATISFACTION OF ARCHITECT.

34. The contractor at his own cost shall take out Contractor’s  All Risk Insurance including Third party insurance from an approved Insurance Company in the joint names of

THE ORIENTAL INSURANCE CO.LTD. & the contractor for the execution of the said works up to the end of the DEFECTS LIABILITY PERIOD. The policies with receipts in respect of premium paid shall be deposited with the Company. If the contractor fails to do so the OICL  may itself insure the same and deduct the sum from the contractor’s bill.

: 12:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

35. The Award of Contract or the Rejection of contract will be made during the Tender validity period stated

in the Appendix.

- After all contract formalities are satisfied and the work order is issued, the successful tenderer shall execute the contract agreement within the time stated in the conditions. The contract agreement shall be executed in the form stipulated by the owner.

- If the Tenderer receiving the Notice of Award fails or refuses the  Contract Agreement within the stated time limit or fails or refuses to furnish bond as required herein, the Owner may cancel his award and the Tender security deposit  will be forfeited.

- A council, partnership or other consortium acting as the Tenderer and receiving the Award shall furnish the evidence of its existence and evidence that the office signing the contract agreement and bonds for the Council partnership or other consortium acting as Tenderer is duly authorized to do so. No extra shall be paid for any minor alterations made in specification while the work is in progress.

36. Contractor shall be given electricity free of cost at one point. The contractor has to make his own arrangement for taking it up to using place at his own expenses.

37. Water shall be provided by the owner in emergency only. However the contractor shall make his own arrangement for supply of water for civil repair works by erection of Sintex Tank. Water connections for repair works from N.M.C. or tanker water with Malaria Dept. permission shall be arranged by the contractor at his own cost. Sample test to be carried out at contractor’s cost.

38    While carrying out waterproofing of overhead water storage tank alternative arrangement to be made with all necessary temporary plumbing connections for the supply of water to ALL FLOORS during the entire work schedule.

39. The contractor is responsible for all the materials on site ( finished or unfinished). Any loss or damage cause to the materials incidental or otherwise shall be borne by the contractor.

40. The contractor shall make adequate arrangement of watchman to protect the materials brought by the contractor at site and ensure the safety ,breakage and theft of materials fixed or unfixed by him.

41. In case of non completion or delay in completion of the work or removal of defects in time. The owner shall be free to appoint another agency to get the job done at the contractor's risk & cost.

42. The contractor shall give proper instructions and understanding to their workmen to behave properly with other labourers /  staffs  working in the premises in order to seek their co- operation without disturbing each other while carrying out the work.

: 13:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

43. VALIDITY OF THE RATES QUOTED IN THE TENDER IS  6  MONTHS FROM THE DATE OF WORK ORDER TO THE CONTRACTOR. In the case of stoppage of work  due to circumstances beyond the clients control such as war, riot, emergencies, forced majors or natural calamities etc. The contractor shall be liable to commence the remaining portion of the work immediately on receiving the instructions for commencement of work without claiming any extra amount or increase the tender rates. This is applicable for the period of 6 months from the date of work order issued to the contractor.

44. The contractor shall use bamboo /  metal scaffolding for the said work and jute or plastic sheets for covering purposes.

45. Any concealed work will be required to be inspected by  Architect / Engineer or his representative , before it is to be covered and contractor shall give sufficient notice to inspect such works. However , if contractor or his man cover up the work before inspection of Architect / Engineer or his representative , the same will be needed to be exposed by the contractor at his own risk if so demanded by Architect / Engineer or his representative.

46. Any of the skilled or unskilled workers at site found not up to the standard or undesirable will be required to be forthwith removed by the contractor.

47. For working beyond normal working hours of 9a.m.to 6 p.m. owners permission will be necessary.

48. If for any reasons the contractor suspends the work for a period more than two weeks, then the Owner and Architect can terminate the contract  unconditionally. The responsibility in such case for the loss , damage , liquidated damages etc. to the Company will be solely on the shoulders of the contractors i.e. The Company  will carry out the remaining works at the risk and cost of the contractor.

49. Income tax will be deducted at source  ( T.D.S.)  from each bills.

50 Principal here means The Oriental Insurance Co. Ltd.. and Architect here means Mr. Rashmin Bhandare

51. Material and mix test for quality and strength will be required to be done by the contractor as and when required and the cost of the same will be bore by the contractor.

: 14:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.0 SPECIAL CONDITIONS OF CONTRACT :

The following clauses be considered as in extension and not in limitation of the obligation of the contractor.

4.1.0	Tender Stipulations :

4.1.1	Sealed tenders should be addressed to the owner :  The Chief Regional Manager,  The  Oriental Insurance Co.Ltd., M.R.O.3, Town Centre,6th Floor, Marol, Andheri Kurla Road, Andheri ( East),  Mumbai.

and  sent  to  the office of  the Owners.

4.1.2	No tender will be received later than at 3.00 p.m. on    23 /01/2017

4.1.3	Tenders will be opened in presence of  the Contractors.

    - The tender  shall remain  valid  for  acceptance  by  the  Owners  for a period of 6 months

from the date of opening of the tender which  period may be extended by mutual

agreement  and  the  tenderer  shall  not  cancel  or  withdraw  the  tender  during  this period.

4.1.5	Tender documents  are required  to be signed by the person or  persons  submitting the tender

on    token   of   his  /  their   having   acquainted   himself  / themselves  with   all  conditions  and stipulations of   tender  as  laid  down.  Tender  with any of   the documents not signed will be rejected. certified   copies  of    registration  certificates,   partnership  deed  and   power  of  attorney will have to be furnished when the tender is to be considered for acceptance.

4.1.6	The  tenderer  shall   not  make  any   alteration   or   amendments   in   the  scope  of  works,

specifications and  descriptions as  incorporated in these tender documents.   Tenders, which

propose such  alteration/s  addition/s and/or propose any sort of conditions, will be liable for

rejection.The  tenderers  are not expected  to  include  any  conditions contrary   to  tender  provisions.

However, if it is necessary to include certain  conditions,  the  same should be submitted in a

separate sealed cover. No conditions etc.  should  be  put in envelope containing price tender.

The covers should be suitably super scribed indicating the containing the contents.

4.1.7	The tender must  be filled  in  English and all entries must be made by hand and written in ink.

If  any of  the documents are missing or unsigned, the tender will be considered invalid.

Initials of  the tenderer must attest all erasures and alterations made while fillings the tender.

Over  writing  of  figures  is  not  permitted, failure to comply with any of these conditions

will render the tender  void. No advice of  any change in rate or conditions after the openings

of the tender will be entertained.

4.1.8	The  Owners  do  not  bind  themselves  to  accept  the  lowest  or  any  tender  and  reserve to

themselves the  right  to  accept  or  to  reject any or all the tenders, either in whole or in part

without assigning any reasons for doing so.

: 15:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.1.9	The tenderer  must  obtain  for  himself on his own responsibility and at his own expenses all

the information  which  may  be  necessary  for the  purpose of  submitting the tender and for

entering in the contract,  and  must  examine  the  work   and  acquaint  himself  with  all local

condition means  of  access  to  the  work,  nature  of  the  work  and  all matters appertaining

thereto.  The description of  all  items  of  work  shall  be  deemed  to  contain  all  details  of

carrying them out in the context of this tender and no extra claim will be acceptable and paid.

4.1.10	Every tenderer shall furnish along with his tender Latest income tax clearance certificate and

information  regarding   the   Income  Tax  Circle/ward/district  in  which  he  is  assessed  for

Income Tax.

4.1.11	All drawings and copies of   tender documents shall be returned to the architects if the tender

is not submitted. In case tender is submitted, the drawings and the balance copies of tender, if

any, shall be returned to the Architects.

4.1.12	The  tenderer  shall  quote  his  most competitive  rates  against all the  items of  work of  the

schedule  of  probable  quantities  and  rates.  In case, the amount shown in the last column as

stated by the tenderer differs from the product of  the quantity and rates filled in, the amount

that may work out as based on the rates will be taken as correct.

4.1.13	The tenderer before quoting  his rates  shall  take  due  cognizance of   the  relevant  costs of

simultaneously working  several  agencies  at  the sites, the extent of interference in his work

under execution,  the execution,  phasing   programming  and  providing of  facilities  such as

scaffolding working  and include  the  same in  his  rates and no extra on such amount shall be

payable to the employer.

4.2.0	Contractual :

4.2.1	The contract document shall consist of the Articles of Agreement, General Conditions of       	Contract,  Special  Conditions of  Contract,  Preliminaries,  General  Specifications,  Special 	Specifications if any,  Bill of Quantities,  Letters of Guarantee along with  (where applicable) the Tender Notice,  Letter Submitting Tender, it’s annexure, etc.  including all  modifications 	thereof  as incorporated  in  the document  before the  execution and  the  Contract  Drawings 	prepared and instructions given by the architect from  time to time.

4.2.2	(a) The Owner (Employer) : The   Oriental   Insurance Co. Ltd., M.R.O.3,Town Centre,

6th Floor, Marol, Andheri Kurla Road, Andheri ( East), Mumbai 400 059.

(b) The Contractor/The successful tenderer : ____________________________________

(c) The Architect : Rashmin Bhandare,   Shanta  Kunj,  D.S.Babrekar Marg, Gokhale Road

(North),Dadar,  Mumbai - 400028.

Are   those  mentioned   such   as   in    the   agreement    and   shall  include  their  legal           	representatives,   assigns or successor.  They are treated throughout the contract document as

if each were of the singular number and masculine gender.

: 16 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.2.3	Within   fourteen days  of   the  receipt of  intimation  from   the  Architects / Owners  of   the

acceptance of  his/their tender,  the  successful  tenderer  shall  be  bound  to  implement  the

contract by signing  an agreement,  but  the written  acceptance  by  the Owners/Architects of

the tenders will constitute a binding  agreement  between owners and the person so tendering

whether such formal contract is/is not subsequently entered into.

The successful tenderer shall not wait for the agreement to be prepared and signed for

compliance of conditions mentioned elsewhere in this tender. Non-compliance of any of  the

terms for will not be acceptable.

4.2.4	Date of commencement/Completion :

The Contractor shall be allowed admittance to the site on/from the “Date of                                              	Commencement” which shall be the immediately from issue of intimation of acceptance of   the tender. He shall thereupon and forthwith begin the works and shall regularly proceed with  and   complete  the  same  on or  before  the  “Date of  Completion”  which  shall  6 calender  weeks from the date of

commencement.

4.2.5	The successful tenderer is bound to carry out any items of work necessary for the completion of the job, if instructed by the architects, even if such items are not included in this tender/contract. The Architects will issue instructions in writing, in respect of  such additional items and their quantities.

4.2.6	(a) The Contractor shall fulfill the requirements of  the EMPLOYEES STATE INSURANCE ACT, 1948, applicable to all states, towards their employees and keep all the required record regarding the same for inspection by the Authorities Concerned at any time.  The Contractor shall indemnify Owners / Architects, any claim or legal action arising out of  the said Act due to the failure of  non-compliance of the provisions of  the said Act and the penalty of any other amount levied by the authorities, shall be recoverable from the payments due to the Contractor,

(b) The Contractor shall comply with the provisions of  the APPRENTICES ACT, 1961, and the Rules &

Order issued there under from time to time.  Failure to do so will be in a breach of  the Contract and the

Architects/Owners may in his discretion cancel the Contract.  The Contractor shall also be liable for any

pecuniary or other liabilities arising on account of  any violation by him of  the provision of  the Act.

4.2.8	Contractor to Conform to Local Regulations :

The Contractor shall conform to the provisions of any Act of  the Legislature relating to the works, and to the Regulation relating to the works, and to the Regulations and Bye-laws of  any Authority, and of  other Companies and/or Authority with whose systems the structure is proposed to be connected.

The Contractor shall bring to the attention of  the Architect all notices required by the said Acts, Regulations

or Bye-laws to be given to any Authority and pay to such Authority, or to any Public Office all fees that may

be properly chargeable in respect of  the works, and lodge the receipt with the owners.

The contractor shall pay and indemnify the Owner against liability in respect of any fees or charges

(including any rates and taxes) legally demandable under any act of  parliament/state legislature, instrument

, rule or order or any regulation or byelaw or any local authority in respect of  the work.

The Contractor shall indemnify the owners against all claims in respect of  patent rights, and shall defend all

actions arising from such claims, and shall himself pay all royalties, license fees, damages, cost and charges

of  all any every sort that may be legally incurred in respect thereof.

: 17 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.2.9	Contractor responsible for bad work :

The Contractor shall set out the works and shall be responsible for the true and perfect setting out of  the same and for the correctness of  the positions, levels, dimensions and alignment of  all parts thereof.  If at any time any error in this respect shall appear during the progress of  the works or within the defect liability period from the completion of  the works, the Contractor shall at his own expense rectify such error to the satisfaction of  the Architect.

4.2.10	Contractor liable for Damage done :

The Contractor shall be responsible for all injury to persons, animals or things, and for all structural and decorative damage to property which may arise from the operation or neglect of  himself or of  any of his employees,  whether such injury or damage arise from carelessness, accident or any other cause whatever in any way connected with the carrying out of  the Contract.  This shall be held to include, inter alia, any damage to building, whether immediately adjacent of  otherwise, and any damage to roads, streets, foot-paths, bridges or ways as well as all damage caused to the buildings and works.  The Contractor shall indemnify the Owner and the architect and hold him harmless in respect of  all and any expenses arising from any such injury or damage to persons and/or property as aforesaid and also in respect of  any claim made in respect of  injury or damage under any Acts of  Government or otherwise and also in respect of any Award of  compensation of damages consequent upon such claim.

The Contractor shall indemnify the Owner and the architect against all claims which may be made against one or both by any member of  the public or other  third party in respect of  anything which may arise in respect of  the works or in consequence thereof and shall at his own expense arrange to effect and maintain until the virtual completion of  the contract, an approved Policy of  Insurance in the joint names of  Owners, architects and Contractor.  The Contractor shall also similarly indemnify the Owner against all claims which may be made upon the Owner whether under the workmen’s compensation Act or any other statute and shall at his own expense effect and maintain, until the virtual completion of  the Contract, with an approved Office a Policy of  Insurance in the joint names of  the Owner and the Contractor against such risks and deposit such policy or policies with the Architect from time to time during the currency of  the Contract.

The Contractor shall be responsible for anything, which may be excluded from the Insurance Policies above

referred to, and also for all other damages to any property arising out of  and incidental to the negligent or

defective carrying out of  this Contract.  He shall also indemnify the Owner/Architect in respect of  any costs,

charges, or expenses arising out of  claim or proceedings and also in respect of  any award of  or

compensation of  damage arising there from.

The Owner with the concurrence of  the Architect shall be at liberty and is hereby empowered to deduct the

amount of  any damage, compensation, costs charges and expenses arising or accruing from or in respect

of any such claims or damage from any or all sums due or to become due to the Contractor.

4.2.11	The Contractor (the successful tenderer) must not assign the contract.  He must not sublet any portion of the contract, except with the written consent of  the Architects.

4.2.12	Child Labour :

The Contractor shall employ no child labour less than 14 years of  age on the work.  No workman of  the contractor shall reside within the site except authorised guards.

: 18 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.2.13	Dismissal of  incompetent or misbehaving employee :

The Contractor shall on the request of  the Architect immediately dismiss from the works any person employed thereon by him who may in the opinion of  the Architect be incompetent or misconducts himself and such person shall not be again employed on the work without the permission of  the Architect.

4.2.14	The Calculations made by the tenderer should be based upon probable quantities of  the several types of  work which are furnished for the tenderer’s convenience in the schedule of  probable quantities, but it must be clearly understood that the contract is not a lumpsum contract and that neither the probable quantities nor the value of  the individual items nor the agreement value of  the entire tender will form part of  the contract and the Employer does not in any way assure the tendered nor guarantee that the said probable quantities are correct or that the work would correspond thereto.

4.2.15	Bills :

All bills	shall be submitted in triplicate along with detailed measurements sheets duly checked by site engineer/clerk of works. Bills shall be typed in English with double spacing. Incomplete, illegible, adhoc or irrelevant bills shall not be accepted / rejected by the Architects.

4.2.16	Extra items :  The rates for varied / deviated or extra items to be worked out on the rates quoted in the tender for the similar items.  Wherever it is not possible to base the rates for varied / deviated or extra items on the tender quoted rates then the rate analysis is to be submitted by the Contractors as under and get the same approved before execution of  the work.

At  Actual per unit :

cost of materials :				: Rs .............................................

Add for Labour charges				: Rs .............................................

Add for Taxes, Transportation, if any,		: Rs .............................................

Add for Miscellaneous expenses, if any,		: Rs .............................................

Sub Total		: Rs .............................................

Add for towards Contractor’s overheads and profit

@ 20% of  sub total above.			: Rs .............................................

Total :	: Rs .............................................

Final rates arrived by rounding of  the Total..........	: Rs ..................................../unit

Contractors are requested to note that no extra items or deviated item of work to be executed without taking prior permission from Employer / Architects.  If the extra items or deviated items of  work is executed without taking prior permission, Employer / Architects shall not be held responsible for the payment of  such works executed.  Contractors will have to submit all the particulars including purchase bills / price list for the materials along  with the rates analysis for verification of  item rates.

4.2.17	The contractor carrying out the above work shall jointly plan and work out a program for the   execution of  the work with Architect.

4.2.18	Various items of  works shall be measured as per the mode of  measurement standards specified.  In case any standards are not specified herein anywhere, the standards as prescribed by the Indian Standards Institute will be followed.  The decision of  the Architect in this regard shall be final and binding.

: 19 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.2.19	  Along with the final bill, the contractor shall submit to the architect drawings, sketches and all

necessary information for preparing “as built” drawings to be given to the owner for record.

4.3.0	Work :

4.3.1	In the event of  rain / storm or other weather conditions arising, the Contractor shall always have in readiness on the site required quantity of  protective material/s such as tarpaulins for the protection of  the works if required.  Due to above-mentioned circumstances should any work be damaged the contractor shall make good the same at his cost as directed by the Architects.

4.3.2	Access to work :

The Owner, the Architect and their respective representatives shall at all reasonable times have free access to the works and / or to the workshops, factories OR other places where materials are lying or from which they are being obtained, and the Contractor shall give every facility to the Owner, the Architect and their representatives necessary for inspections and examination and test of  the materials and workmanship.  No person except the representatives of  Public Authorities and those authorised by the Employer of the Architect shall be allowed on the works at any time.

4.3.3	Removal of  unwanted material from site :

The Architect shall, during the progress of  works, have power to order in writing from time to time removal from the works within such reasonable time or times as may be specified in the order, of  any materials which in the opinion of  the Architect are not in accordance with the specification or not required for work under contract.  The Contractor shall forthwith carry out such order, at his own cost.  In case of default on the part of  the Contractor to carry out such order, the Owner shall have the power to employ and  pay other persons to carry out the same; and all expenses consequent or incidental thereto as certified by the Architect shall be borne by the Contractor, or may be deducted by the Owner from any money due or that may become due to the Contractor.

4.3.4	Use of  premises for other work :

The Owner with the concurrence of  the Architect reserves the right to use the premises and any portions of  the site for the execution of  any work not included in this Contract which he may desire to have carried out by other persons, and the Contractor is to allow all reasonable facilities for the execution of  such work but is not required to provide any plant or materials for the execution of such work except by special arrangement with the Owner such work shall be carried out in such manner as not to impede the progress of  the works included in the Contract and the Contractor is not to be responsible for any damage or delay which may happen to or occasioned by such work.

4.3.5	Protections of  trees and shrubs :

Trees and Shrubs designated by the Architect shall be protected from damage during the course of  the work and the earth level shall not be changed within three feet of  such tree.  Where necessary such trees and shrubs shall be protected by means of  temporary fencing.

4.3.6	Protection and cleaning :

The Contractor shall protect and preserve the work from all damage or accident providing any temporary roof, window and door coverings, boxing or other construction as required by the Architect.  This protection shall be provided for all property adjacent to the sites as well as on the site.The Contractor shall properly clean the work as it progresses and shall remove all rubbish and debris from the site from time to time as is necessary and as directed.  On completion the Contractor shall ensure that the premises and / or site are cleaned surplus materials debris, sheds etc. removed, areas under floors cleared of  rubbish gutters and drains cleared, so that the whole is left fit for immediate occupation or use and to the satisfaction of  the Architect.

: 20 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

The Contractor on starting the work shall furnish to the Architect a program for carrying out the work stage by stage in stipulated time.  A graph or chart on each individual work shall be maintained showing the progress week by week.

4.3.8	Contractors field organization and Equipment :

Engineer-in-Charge :

The Contractor shall constantly keep on the work site during the entire period of  contract one or more qualified and competent Engineers-in-Charge who will be responsible for the carrying out of  the works.  Any directions or instructions given to him by the Architect shall be deemed to have been issued to the Contractor.

4.3.9	Equipment :

The Contractor shall provide and install all necessary hoists, ladders, scaffolding, tools, tackles, plants, all transport for labour materials and plant necessary for the proper carrying on execution and completion of  the work to the satisfaction of  the Architect.

4.3.10	Watchman :

The Contractor shall make his own security arrangements to guard the Site and premises at all times, at his own expense.  The security arrangements shall be adequate to maintain strict control on the movement of  material and labour.  The contractor shall extend the security arrangements to guard the material stored and / or  fixed on the premises by the Sub-Contractors.

4.3.11	Storage of  Materials :

The Contractor shall provide, erect and maintain proper sheds for the storage and protection of  the materials etc. and also for the execution of  pre-requisite work, which may be required on the Site.

4.3.12	Sanitary Conveniences :

The Contractor shall provide and erect all necessary sanitary convenience for the Site-staff and the workmen, maintain in a clean orderly condition and clean and deodorize the ground after removal.

4.3.13	Scaffolding, Staging, Guardrails :

The Contractor shall provide scaffolding, staging, guardrails, temporary stairs that shall be required during construction.  The support for the scaffolding, staging, guardrails and temporary stairs shall be strong, adequate for the particular situation.  The temporary access to the various parts of the Building under construction shall be rigid and strong enough to avoid any chance of  mishaps. The arrangement proposed shall be subject to the approval of  the Architect.

4.3.14	Safety Code :

The Contractor shall strictly comply with the provision of  Safety Code as follows :-

(a)There shall be maintained a readily accessible place first aid appliances including                		adequate  supply of  sterilized dressings and cotton wool.

(b)An injured person shall be taken to public hospital without loss of  time, in case

where injury necessitates hospitalization.

(c)Suitable and strong scaffolds should be provided for workmen for all works that

cannot safely be done from ground.

(d)No  portable  single  ladder  shall  be over 5 meters in length.  The width between the 		                 side rails shall not be less than 30 cm. (clear) and the distance between two adjacent rungs’   shall  not   be  more  than  30 cm.   When  an  unsecured  ladder  is  used & attendant shall be engaged for holding the ladder.

(e)The   excavated  material  shall  not  be  placed  within 1.5 meters of  the edge of  the 		               trench  or  half  of  the  depth  of   trenches  whichever  is  more.    All  trenches  and excavations shall be provided with necessary fencing and lighting.

: 21 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

(f)	Every  opening  in  the floor of  a building or in a working platform shall be provide

with   suitable  means   to  prevent   the  fall   of    person  or  materials  by  providing

suitable fencing or railing whose minimum height shall be one meter.

( g)          No floor,  roof  or other  part of  the structure  shall be so overloaded with debris

materials as to render it unsafe.

(h)	Workers employed on mixing and handling materials such as asphalt, cement mortar or concrete and  lime  mortar  shall  be provided with protective footwear and rubber handgloves.

(i)Workers  engaged   in  welding  works  shall  be  provided  with  welder’s  protective eye-shields and gloves.

(j)      (1) No paint  containing  lead or lead  products  shall  be  used  except in the form of paste or ready-made paint.

(2)  Workers should  be supplied suitable facemasks for use when the paint is applied in form

of spray or surface having lead paint dry rubbed and scrapped.

(k)	All  equipments,  tools,  Hoisting  machines  and  tackle including their attachments, 		anchorage,  ropes  and  supports  shall   be  in  maintained  in  perfect  condition  and 		inspected by the contractors engineer every week.

4.3.15	Shop Drawings :

The contractor  shall depute adequate number of experienced staff with the necessary equipment required for preparing ‘SHOP DRAWINGS’ if and when required, giving working details to suitable scales such as working details shall be prepared by the contractors from time during execution of the work as may be required by the Clerk-of-work / Architect without any extra cost to the employer and shall be approved by the Architect / Clerk-of-work before undertaking any particular item of work.

4.3.16	Temporary Barriers :

The contractors shall at his cost erect temporary barriers between the area of  work and that in use by the owners / occupants as and when directed by the architects.  These barriers shall be such as to prevent dust and rabbit to cross over to the area in use as well as to provide protection to people.

4.3.17	Protection Screen :

The contractors shall at his cost erect all necessary protection scaffolds, nets, screens as approved by the architects particularly on the exterior face of the building to adequately protect the lower floors and people / property on the ground during the progress of  work.

: 22 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.4.0	Financial Conditions : (Explanation to Appendix)

4.4.1	Earnest Money Deposit :

Intending tenderer shall pay as earnest money a sum of  Rs. 28,000/- ( Twenty Eight Thousand  Only )which amount should be drawn by a Pay order / Demand Draft in favor of  The Owners.  A tender that is not accompanied by earnest money will not be considered.  The earnest money will be returned to the tenderers if his tender is not accepted, without any interest.  The earnest money deposit of  the successful tenderer will be adjusted towards the security deposit payable per below.  The Earnest money will be forfeited if the contractor fails to start the work and / or fails to enter into agreement and / or fails to pay security deposit.

4.4.2	Security Deposit :

The successful tenderer shall immediately of  the receipt of  the acceptance of  the tender by the owners, deposit with the Owners, a sum equal to  Rs. 56,000/- ( Rupees Fifty SixThousand Only ) as security deposit, including the earnest money deposit of  Rs.28,000/-  ( Twenty Eight Thousand Only ) for the proper execution and the due fulfillment of  the contract.  The security deposit may be given in form of  bank guarantee or fixed deposit with any Nationalised Bank with the receipts duly discharged in favor of  owners.  No interest shall be paid to the contractors for this deposit.  The contractor shall, however, be entitled to any interest accrued on their  Fixed Deposit.

4.4.3	Retention :

In addition to the money paid as Security Deposit, as additional security for the fulfillment of  the contract 10% of  the value of  the work done will be deducted from each payment made against running account bills to the contractor until limit of  Retention per Memorandum (appendix). This amount will be released by the owners on issue of  final completion certificate by the architects towards compliance of  all conditions of  contract by the contractor including attending all defects noted during the defects liability period.  The earnest money deposit, the security deposit and the retention money of  the successful tenderer will be forfeited if he fails to comply with any of  the conditions of  the contract.

4.4.4	Penalty For Delay In Work (Liquidated Damages) :

In case the Contractor fails to complete the work under contract in the specified period he shall pay or allow to the Owner the sum named in the Appendix / Memorandum as “Liquidated Damages”  @ the rate of  Rs. 1,000/- ( Rupees One Thousand Only ) per day for the period during which the said works shall so remain incomplete and the Owner may deduct such damages from any moneys due to  the Contractor.

4.4.5	Defects Liability Period :

Any defect, shrinkage, settlement, or other faults which may appear within the “Defects Liability Period”  stated in the Appendix / Memorandum of  this tender or, if none stated, then within

12 months after the virtual completion of  the works; arising in the opinion of  the Architect from materials or workmanship not in accordance with the contract shall upon the directions in writing of  the Architect, and within such reasonable time as shall be specified  therein, be amended and made good by the Contractor, at his own cost and in case of default the Owner may employ and pay other persons to amend and make good such defects, shrinkage, settlements or other faults, and all damages, loss and expenses consequent thereon or incidental thereto shall be made good and borne by the Contractor and such damage, loss and expenses, shall be recoverable from him by the Owner or may be deducted by the Owner upon the Architect’s Certificate in writing from any money due or that may become due to the contractor or the Employer may in lieu of  such amending and  making good by the Contractor deduct from any moneys due to the contractor a sum, to be determined by the Architect equivalent to  the cost of  amending such work.

: 23 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.4.6	Virtual Completion Certification :

The works shall not be considered as completed until the Architect has certified in writing that they have been virtually completed and the Defects Liability Period shall commence from the date of  such Certificate.

4.4.7	Insurance Policies :

The Contractor after receiving the intimation of  acceptance of  his tender by the Owners, shall take out following  INSURANCE POLICIES from an office approved by the architect in the joint names of  the Owner and Contractor (the name of former being placed first in the Policy).  The policies shall be kept valid until the virtual completion of  the Contract.  The contractor shall deposit the Policy and receipts for the premiums with the Architect before commencing the work.

i)    All   Risks   Insurance  Policy   to   cover   Completed   work,   material   and    equipment

brought at site from Fire, Theft / Burglary.

ii)  Third Party Insurance Policy :-  For accidental loss or damage caused to the property of  other persons and For fatal or non-fatal injury to any person other than Insurer’s own employees or workmen of  employees of  the Employer of  the Works or Premises or other Firms connected with any other construction work thereon, or member of the Insurer’s family or of any of  the aforesaid; directly consequent upon or the solely due to the construction of  any property described in the Schedule.

iii)  Workmen’s Compensation Insurance per Local regulations.

4.4.8	Electricity for construction

The rates quoted in Tender shall also include charges for electric power.  The contractor shall draw power from available sources at site only for general lighting and use of minor equipment only and shall pay for the electricity consumed.  The contractor will have to make all arrangements, cable-works,  protection, fittings and fixtures etc. from the supply point to the various locations are required.

4.5.0	Material :

4.5.1	Material used on the works shall be tested for quality / strength by the Contractor at his own cost at Institute or testing laboratory as directed by the Architects.  The Contractor shall arrange to get the materials tested for quality if directed by the Architects prior to use in the work.

4.5.2	The successful tenderer should make his own arrangements to obtain all the material required for the work.  The contractor shall have to pay all Sales Tax, Octroi or any other duty levied by the Govt. or Public bodies.

4.5.3	Prior to commencing work or any part of work, the contractor shall confirm having at site the specified materials required for each item of  work having make firm arrangements for timely supply of  such materials.  If any specified item is not available, the Architects must be advised immediately.

4.5.4	Contractors shall procure samples of  all items listed in schedule of  quantities.  The samples shall be submitted to Architects office for approval.  The work for the bulk quantities shall be commenced only after approval of  the samples by the Architects / Owners / Bank.

NOTE :	Samples of  material  out  of   the  list  stated  above  will  be  submitted  within  21  days  of   intimation  of  acceptance  of  tender  for joint  approval by the Architects and Owner prior to placing order for the material.

: 24 :                                                Seal & Signature of the contractor

5.0  DRAFTS OF LETTERS OF GUARANTEE :

( To be made on the required amount STAMP PAPER )

5.1.0 (for  SECURITY DEPOSIT)

- In consideration of  the (owners)......................(hereinafter called the ‘Owner’) having agreed to accept a Bank Guarantee in lieu of  Initial Security Deposit payable at the rate of  ............%  of  the contract amount of

Rs.  ..................    (Rupees ................ only)  by  M/s. .................................................... (hereinafter referred to as the said ‘Contractor’), under the terms and conditions of tender No............... dated ................... and work Order Ref. No. ............. dated ................... for the (Contract Work) ....................

We the Bank of ......................... having Registered Office at ....................... (hereinafter referred

to as ‘The Bank’ ) at the request of  M/s .......................................... the said contractor do

hereby undertake to pay to the (owners) .................. an amount not exceeding the above said

amount of guarantee,  against  any loss or damage caused to or suffered or would be caused to

or suffered  by the (owners) ......................... by reason  of   any  breach by  the said contract

of  any of  the  terms and conditions contained in the said Work Order.

- We Bank of ....................................do hereby undertake to pay the amount due and payable under this guarantee without any demur, merely on a demand from (owners) ................. stating that the amount claimed in due by way of  loss or damage caused to or would be caused to or  suffered by (owners).................... by reason of  breach by the said contractor any of the terms and conditions contained in the said Work Order.  Any such demand made on the bank shall be conclusive as regards the amount due and payable by the bank under this guarantee shall be restricted to an amount not exceeding the above said amount of guarantee.

- We undertake to pay (owners) ....................... any money so demanded not withstanding any dispute / disputes raised by the contractor in any suit or proceeding pending before any court or tribunal relating thereto, our liability under this present being absolute and unequivocal.        The payment so made by us under this bond shall be a valid discharge of  our liability for payment there under and the contractor shall have no claim against us for making such payment.

- We, Bank of ..................... , further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of  the said work, i.e., shall continue to be enforceable till dues of  (owners) ........... under or by virtue of  the said work order have been fully paid and it’s claims satisfied or discharged till (owners)........ certifies that the terms and conditions of  said work order have been duly & properly carried out by the said contractor & accordingly discharges this guarantee.

- We,  Bank of  ................................ , further agree with (owners) .........................  that  (owners)................ shall have fullest liberty, without our consent and without affecting in any manner our obligations hereunder, vary any of  the terms and conditions of  the said agreements or to extend time of  performance by the said contractor from time to time or to postpone for any time or from time to time any of the powers exercisable by (owners).............. against the said contractor, and to forbear or enforce any of  the terms and conditions relating to the said agreement, and we shall not be relieved from our liability by reason of  any such variation or extension being granted to the said contractor or for any forbearance act of omissions on the part of  the (owners)....................... or any indulgence by (owners).............. to the said contractor by any such matter or thing what so ever which under the law relating the sureties would, but for this provision, have effect of  so relieving us.

- This guarantee will not be discharged due to the change in the constitution of  the bank or of the contractor.

- We,  Bank of ..................... , lastly undertake not to revoke this guarantee during it’s currency except with the previous consent of (owners)...................... in writing.

Not withstanding anything contained herein above, liability under this guarantee is restricted to Rs................. (Rupees ................................................................. only.)  This guarantee shall be valid upto ..................... & unless a claim / demand is made on us within a period of  three months from the date of  expiry of  the bank guarantee, we shall be discharged of  all our liabilities hereunder.

Place :					 Dated :

: 25 :                                                Seal & Signature of the contractor

: ARTICLES OF AGREEMENT:

ARTICLES OF AGREEMENT made the ..................................................................................

day of ........................................................................................................................................... between

the                                               (hereinafter called “the Employer”) of  the one part and ..................

.....................................................................................................................................................................

( hereinafter called  “the Contractor” ) of  the other part.

WHEREAS  the employer is desirous of  providing Furniture, Civil ,Electrical work in their Pen Branch Office

Premises, . and has cause

Specifications describing the work to be done to be prepared by the Employer or his Architect.

AND WHEREAS  the Contractor has agreed to execute upon and subject to the Conditions set forth herein and in the correspondence attached hereto and to the Conditions set forth in the Special Conditions and in the Schedule of  Quantities and Conditions of  Contract (all of  which are collectively hereinafter referred  to as “the said Conditions”) the works described in the said Specifications and included in the said Schedule of Quantities at the respective rates therein set forth amounting to the sum as therein arrived or such other sum as shall become payable there under (hereinafter referred to as  “the said Contract Amount”).

NOW IS HEREBY AGREED AS FOLLOWS :-

1.	 In consideration of  the said Contract Amount to be paid at the time and in the manner set forth in the said Conditions, the Contractor shall upon and subject to the said Conditions execute and compete the work shown upon the said Drawings and described in the said Specification and the Schedule of  Quantities.

2.	The Employer shall pay the Contractor the said Contract Amount, or such other sum as shall

become payable, at the times and in the manner specified in the said Conditions.

3.	The said Conditions and Appendix thereto and the correspondence attached hereto shall be read and construed as forming part of  the Agreement and the parties hereto shall respectively abide by, submit themselves to the said Conditions and the correspondence and perform the agreement on their part respectively in the said Conditions and the correspondence contained.

4.	The plans, agreement and documents mentioned herein shall form the basis of  this contract.

5.	This Contract is neither a fixed Lump sum Contract nor a Piece Work Contract, but is a Contract for manufacture, supply and assemble at site to be paid for according to actual quantities at the rates contained in the Schedule of  Rates and Probable Quantities or as provided in the said Conditions.

6.	The Employer reserves to itself the right of  altering the items to be supplied by adding to or omitting any items without prejudice to this contract. However, the Contractor shall not be entitled to any payment for  the works done exceeding the tender quantities unless specifically approved in writing by the Architect.

7.	Time shall be considered as the essence of  this Contract and the Contract hereby agrees to commence the work from tenth day after the date of  issue of  formal work order as provided for in the said conditions and to complete the entire supplies within Forty Five days subject nevertheless to the provisions for extension of  time.

8.	All payments by the Employer under this Contract will be made only at Mumbai.

: 26 :                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

9.All disputes arising out  of or in any way connected with this Agreement shall be deemed to have arisen at Mumbai and only Courts in Mumbai shall have the jurisdiction to determine the same.

10.That the several parts of  this Contract have been read by the Contractor and fully understood by the Contractor.

IN WITNESS WHEREOF the Employer and the Contractor have set their respective hands to these presents and two duplicates hereof  the day and year first herein above written.  (If the Contractor is a partnership or an individual).

Signature Clause

SIGNED AND DELIVERED by the

by the hand of

Shri .............................................................

(Name & Designation)

in the presence of

1)  ...............................................................

Address ......................................................

.....................................................................

2)  ...............................................................

Address ......................................................

.....................................................................

Witnesses

SIGNED AND DELIVERED by			If   the  party  is  a  Partnership  firm

or an individual should be signed by

.....................................................................		all or  on  behalf  or  all the partners.

in the presence of

1)  ...............................................................

Address ......................................................

.....................................................................

2)  ...............................................................

Address ......................................................

.....................................................................

…27…                     Seal & signature of the contractor

TENDER FOR THE PROPOSED

FURNITURE , CIVIL & ELECTRICAL  WORK

OF PEN  BRANCH PREMISES,

AT GOPAL NIWAS,M.G.ROAD,

NEAR S.T.STAND,PEN,

DIST.RAIGAD 402106.

.FOR THE ORIENTAL INSURANCE CO.LTD.MRO 3 ,

TOWN CENTRE,6TH FLOOR, ANDHERI  KURLA ROAD, MAROL,

ANDHERI (EAST),MUMBAI 400 059

: PART - II :

: FINANCIAL BID :

Envelope No. II  : FINANCIAL BID :

Date of Pre Bid Meeting  :             16     /  01       /   2017 at 3.30 p.m.

Date of Tender Submission  :        23   /    01    / 2017  before 3.00 p.m.

ARCHITECT : RASHMIN BHANDARE

Shanta Kunj, D.S.Babrekar Marg,

Gokhale Road ( North), Dadar,

Mumbai-400028.

Tel : 9892067458

Total No. of pages  :  Technical Specifications :  22  Nos   PLUS  BOQ :  3 Nos

PLUS  Reference Drawing   1 No  i.e. Total  No.  26    pages

: 1:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

:  IMPORTANT :

The Contractor should satisfy himself that no paper or document from this Sealed Document is missing while submitting this tender consisting of     26    pages

Tender issued to

…………………………………………………

………………………………………………..

…………………………………………………

Issued by :

The  Chief Regional  Manager,

Mumbai Regional Office No.3

Town centre,6th Floor,

Marol, Andheri Kurla Road,

Andheri( East)

Mumbai 400 059.

.2....				 Seal & Signature of the contractor

Rashmin Bhandare

Architect

: RECOMMENDED BRANDS :

NOTE :

The Contractor shall quote for the best of the materials as specified below with ISI mark wherever applicable.  The Contractor shall obtain prior approval from the Employer / Consultant before placing order from the Specific materials agencies.  In case of non-availability of any of the approved / specified materials / agency during / the execution of works.  The owner / consultant may approve suitable equivalent brand / agency and his decision shall be final and binding on the contractor and the price variation if any shall be adjusted accordingly.

1.	Cement (43 Grade)			                :ACC, L & T, Narmada / Roffe/ Ambuja

2.	Sand					: River sand

3.	Epoxy resin + hardner			:Hindustan ciba geigy / Dr Beck

4.	Integral Waterproofing			:Impermo, Roffee, Pidiproff

Compound

5.	Super Plasticiser			               :Supercon 100 / Conplast 211

6.	P.V.C. Pipes & Fittings			:Supreme, Prince

7.	C.I. Pipe & Fittings			                :Neco

8.	G.I. Pipes				                :Tata / Zenith

9.	G.I. Fittings				:Kirti Brand / Unik

10.	Taps & Valves				: ISI Jaguar

Chromium plated fittings & Fixtures

11.	Polysulphide sealant			:Choksi Chemicals

12.	Wall tiles	                                                               :Kajaria / Johnson / Bell /  Varmora

13.	White Cement				:J.K. / Birla

14.	Non slippery Floor tiles		               : Bell / Euro / Asian / Varmora / Johnson

15.       Toilets Fittings                                                          : Nycer / Paryware / Hindware

16.	Exterior Emulsion Paint		               :  Asian / Nerolac / 9-Flex

16.1       Viitrified  Floor Tiles                                                : Kajaria,Johnson.

: 3:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

17            Synthetic Enamel			              :   Nerolac, Berger, Asian, ICI

Plastic emulsion/ Oil Bond

distemper

18.	Exterior Paint			:	 Excel / Apex / 9 Flex

19.	Waterproof Coating			             :	 POLYALK WP of Sunanda Chemicals.

20.	Cables ISI				: Polycab / Asian / CCI

21.	MCB & DB				: M.D.S. / HAGER / Seimens

22.	PVC insulated wires ISI		                 :V Plast / Sundeep / Polycab /

Pyroflex / Vinay

23.	Wooden Screws			                : Nettlefolds

24.	S.F.U.S. with fuses (H.R.C.)	                               :Crompton / L & T

25.	E.L.M.C.B. (RCCB)			              :	M.D.S. / HAGER / Seimens

26.	Telephone wiring			              :	Delton / Finolex / Vinay

27.	Conduits				               :Precision (ISI) / Circle arks

28.	Cable Luggs				:Dowells

29.	Cable gland				:Braco / Comet / H.M.I.

30.	Spot light				:	Geminy Global / Liberty

31.	Fan Regulator			:	Anchor

32.	Switch board				:Sunwood

33.	Switch & Sockets			:	Anchor/ Vinay ( Corum)

34	Casing capping			:	Precision

35.	Ind. Switch socket			:	MDS / Crompton

36.	Fixtures, Fittings etc.		:	Philips / Crompton / Wipro

: 4:                                                Seal & Signature of the contractor

Rashmin Bhandare

Architect

| SR. NO. | MATERIAL | APPROVED MANUFACTURERS / SUPPLIERS |
| --- | --- | --- |
| 01. | Glass | Modi guard float glass, pilkington. |
| 02. | Aluminium false-ceiling | Supersil |
| 03. | Glass wool | Fiber glass pilkington |
| 04. | Fire Retardant Paint | Fire Tard |
| 05. | Wood Preservative | Bison by British Paints, Termiseal by PCI |
| 06. | Locks | Godrej, Vision, Laxmi, Vijayan. |
| 07. | Door closer / Floor springs | Garnish, Everite, Harden. Note : Written consent of manufacturer along with operational warranty must be obtained with reference to the location, size, thickness and weight of the door, Bank / Architect reserve to deduct the entire cost of this item from virtual completions. Certificate if the fixture does not perform expected. |
| 08. | Chairs | Wodcarver, Methodex Urotech, Vtotech. |
| 09. | Paint | ICI (Dulex – duco), Asian Paints, Goodless Nerolac. |
| 10. | Adhesive | Fevicol SH, Mevicol HV of Mafatlal Araldite of Ciba-Geigy. |
| 11. | Hardware | Shalimar, CIEF, Vision |
| 12. | Screws | G.K.W., Nettle fold |
| 13. | Soft Board | Jolly Board |
| 14. | Laminates | Sunmica , Slgnature,Silicon |
| 15. | Gypsum Board (false-ceiling) | India Gypsum Limited , Hylux of Ramco Indust. Ltd. |
| 16. | Teak wood based particle board | Nova Teak Super by Indian plywood Mfg Co |
| 17. | Commercial Plywood / block board | Mayur, Century , Samrat ,Duro |
| 18. | Teak Veneer | Mayur, Century,Kenwood, Anchor |
| 19. | Marine plywood | Mayur , Century / Samrat |

: 5:                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

:TECHNICAL  SPECIFICATIONS FOR ELECTRICAL WORK :

1.0	DISTRIBUTION BOARDS :

1.1	SCOPE :  This specification covers design, manufacture, testing and commissioning of  the

Dist. boards.

1.2	STANDARDS :	The design, manufacture and testing of  the distribution board shall comply

with the latest issue of  the following standards :

a)  IS	:  2675	:  Specification  for   enclosed     distribution  fuse boards and cut-outs for 		   voltages  not exceeding 1000 volts.

b)  IS	:  4237	:  General  requirements  for switch-gear  and control gear for voltages not 		   exceeding 7000 Volts.

c)  IS	:  4047	:  Specification for  heavy  duty  air break switches and composite units of  		   air break switches.

d)  IS	:  2208	:  Specification for HRC fuse links upto 650 Volts.

e)  IS	:  375	:  Specification  for  marking  and   general   arrangement  for  switch-gear 		   busbar, main connection and auxiliary wiring.

f)  IS 	:  1897	:  Specification for copper busbars.

g) IS	:  2147	:  Degree of  protection provided by enclosure for low voltage switch-gear

1.3	CONSTRUCTION :

a)  Distribution boards shall be metal cubicle type wall / floor mounting type.  It shall be totally enclosed,  completely dust-proof and vermin-proof.

b)  Sheet steel work shall be of  high quality and shall be free from burrs.

c)  The sheet steel used for the body and doors shall be at least 1.6mm thick.

d)  The design shall be based on modular construction.  Barriers shall be provided between the modules as well as between vertical and horizontal busbars and the modules.

e)  Distribution board shall be extensible on both the sides and shall be uniform in height.

f)  The distribution board shall have a covering at the bottom and top so that entry of  dust and vermin is prevented.

g)  Each module shall have an independent hinged door with concealed type hinges.  Each door shall be provided with gasket to make the equipment dust tight.  Each door shall be provided with insulated quick turn.

h)  Adequate space shall be provided in each module for termination of  cables.

i)  The design shall be dead front type.  No live components shall be mounted on the door.  All the components such as switches, fusses etc. shall be mounted on the rear plate of  the module, or with suitable mounting brackets as required.

j)  Door interlock shall be provided with every door so that it shall not be possible to open the door with the switch in closed position.

1.4	BUSBARS :

a)  Three phase and neutral copper busbars of  hard drawn high conductivity tinned copper shall be provided.  The current density in the busbars shall not be more than 160A/Cm2. Neutral busbars rating shall not be less than 50% of  the phase busbar.

b)  The busbar chamber shall have screwed on sheet steel removable covers with gaskets.

c)  Copper earth bus, to suit the system fault level shall be provided for entire length of  distribution board.

d)  The copper busbars shall be run, one set for each panel.

e)  The busbars supports shall be non-hygroscopic antitracking material.  Busbar supports shall be provided at every

300mm. apart on as directed by Engineer in charge.

f)  Bolted joints shall be provided with couch screws, spring washers, lock nuts etc. for antivibration.  The bolts shall

either be of  Brass or cadmium plated type.

: 6 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

1.5	WIRING AND TERMINALS :

a)  Flexible copper wires of  suitable current  rating and of 1100/600 V. grade shall be used for internal wiring.   Lugs shall be used for terminating these wires.  The lugs shall be fitted by crimpling method only.

b)  Elmex type terminals blocks shall be provided where upto 35 mm 2 cables are to be terminated.

c)  For termination of  cables of  sizes higher than 35 mm 2 terminals in the form of  copper busbar pieces shall be provided.

1.6	WIRE-WAYS :

a)  Vertical wire-ways of  adequate capacity shall be provided for clamping and accommodating all outgoing cables including provision for future requirements.

b)  The wire-ways shall have hinged door with concealed type hinges and non-aging material gasket.  The door shall have insulted quick term screws.

c)  Clumping facility shall be provided in the wire-ways for clamping outgoing cables.

d)  Adequate shrouds shall be provided to prevent accidental contact with outgoing terminals.

1.7	CABLE ENTRY :

a)  Cable entry for all the feeders shall be from top / bottom.  Cables and base of  adequate size to be provided wherever required.

b)  Removable sheet steel gland plates shall be provided.  Holes for appropriate sizes of  cables glands shall be made at site.

c)  Compression type brass plated cable glands shall be provided.

1.8	SWITCHES :

a)  The switches shall be heavy duty type and shall be suitable for heavy duty / motor duty.

b)  The switches shall be 3 pole and neutral units / triple pole as required.

c)  Shrouds shall be provided for the incoming live terminals.

d)  The terminals shall have spring washers.

e)  ON - OFF mechanical indicators / switch position marking shall be provided.

f)  Locking facility shall be provided.

g)  The switches shall be operable from front.

1.9	FUSES :

a)  The fuse links shall be per relevant ISI standards.

b)  Two nos. fuse pullers shall be supplied at each panel location and suitably mounted on wall.

1.10	INSPECTION AND TESTING :

a)  Inspection :

The inspection shall consist of  following, but shall not be limited to the same :

i)    Appearance and construction

ii)  Dimensions mounting details etc.

iii) Feeder arrangement and feeder details

iv)  Door alignment, gaskets etc.

v)   Alignment of  switch drive and handle.

b)  Tests :

The following tests shall be carried out :

i)   Insulation  resistance.

The insulation resistance shall be measured between phases,  between phases & neutral and between phases and earth.   The insulation resistance shall be measured with 10000 Volts megger., both before and after the high voltage power frequency test.  The insulation resistance shall not be less than (three) megaohm in any case.

ii)  High Voltage Power frequency test :

: 7 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

This test shall be carried out by applying a Voltage of  2.5 K V for one minute.

a)   between all the three phases and earth.

b)   Between the phases.

c)   between phases and neutral

iii) If  the results of  inspection and tests are not satisfactory, the defects shall be rectified and tests shall be repeated to entire satisfaction of  Engineer-In-charge without, any extra charge to Engineer-in-charge / owner.   The inspection and test results shall be submitted, in quadruplicate for  Engineer-in-charge approval.

1.11	DRAWINGS & GUARANTEED TECHNICAL PARTICULARS

The following shall be submitted, in quadruplicate for Architects approval, before taking up the fabrication.

a)   Guaranteed technical particulars for :

i)    Switches

ii)  HRC fuses & fuse bases

iii) All insulations such as busbar supports.

b)   Drawings :

i)   Assembly drawing - This should incorporate dimensions, weight and feeder arrangement.

ii)  Foundation Drawing.

iii) Insulation instructions

iv) Maintenance instructions, spare parts catalogues for  components.

1.12	PAINTING :

All steel work shall undergo a process of  degreasing pickling in acid bath, phosphatising.  This shall be followed by two coats of  primer and two coats of  final finish paint, both applied with spray.  The colour shade shall be got approved before painting.

1.13	LABELS :

Engraved PVC / Black Anodised labels shall be provided on all the incoming and outgoing feeders.

2.0	FUSE, DISTRIBUTION BOARDS & ISOLATORS.

2.1	SCOPE :

The scope of  work shall cover the supply, installation, testing and commissioning of  fuse, distribution boards and isolators.  Associate minor civil work required for the erection of  the DB’s and isolators are included in the scope of this contract.

2.2	STANDARDS :

The following standards and rules shall be applicable -

IS    -    2675	:  Enclosed distribution fuse boards and cutouts for voltages not exceeding

1000          V.

IS    -    2607	:  Air-break isolators for voltages not exceeding 1000 V.

IS    -      375	:  Marking and arrangements of  switch-gear, busbars, main connections and 		   auxiliary wiring.

Indian Electricity Act 1910 and rules issued thereunder.

2.3	CONSTRUCTION :

a)  Fuse distribution Board along with the controlling switch fuse unit or isolator shall be fixed in an M.S. box with hinged lockable door suitable for wall mounting.  Distribution boards shall be made of  16 SWG sheet steel.  Three phase boards shall be made of  16 SWG sheet steel...   Three phase boards shall have phase barriers and a wire channel on three sides.  Conduits knockouts shall be rendered dust and vermin proof with necessary sealing gaskets.

b)  Fuses shall be HRC link type only with necessary fuse carriers and with a minimum short circuit rating at 25 KVA.

c)  Isolators shall be fixed on self-supported angle iron frame or mounted inside a recessed mounted sheet steel enclosing with hinged front cover as required, and as directed by Engineer-in-charge.

d)  Painting, earthing and labels shall be provided as indicated for power panels as shown on drawings.

: 8 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

2.4	INSTALLATION & TESTING :

a)  All distribution Boards and Isolators shall be mounted on necessary angle iron frame work.   All mounting frames shall be prime coated with two finish coats after the completion of  work.  All distribution boards shall be touched up for damaged printing.

b)  All boards shall meggared phase to phase and to neutral and phase to earth using a 1000 V. megger with all switch-gear in closed position.  The megger values should not be less than 25 megohms between phases and 15 megohms between phase and neutral, and between phases and earth.

c)  Fabrication drawings of  all the boards shall be approved by the Engineer-in-charge before the fabrication.

2.5	MODE OF MEASUREMENT :

a)  The distribution board / isolator complete with the various components specified including supporting frame, erection etc.  will be treated as one unit for purpose of  measurement and payment.

b)  Earthing of  the boards from the equipment earthing system will not be a part of  the unit for purpose of  measurement.

3.0	LIGHTING DISTRIBUTION BOARD :

3.1	SCOPE :

The specification  covers design, manufacture, testing and commissioning of  lighting distribution boards.

3.2	STANDARDS :

IS    -    2675	:  Specification   for   enclosed    distribution  fuse  boards  and cut-outs for

voltage not exceeding 1000 V.

IS    -    4237	:  General  requirements  for  switch-gear and control gear for voltages not 		   exceeding 1000 V.

IS    -      375	:  Specification  for  marking   and   general   arrangement  for  switch-gear 		   busbars, main connection and auxiliary wiring.

IS    -    2147	:  Degree of  protection provided by enclosure for low voltage switch-gear.

IS    -    4064	:  Heavy duty fuse switch units

IS    -    8828	:  Miniature Circuit Breakers

IS    -    9224	:  High Rupturing Capacity fuse links.

(BS - 3871 - pl)	:  Specification for Miniature Circuit Breakers

3.3	CONSTRUCTION :

a)  Lighting distribution board shall be cubical type suitable for wall mounting or recessed mounting.  It shall be totally enclosed, completely dust-proof and vermin proof.

b)  Sheet steel work shall be of  high quality and shall be free from burrs.

c)  Sheet steel used for the body and door shall be at least 2 mm.  thick, while the base angle / sheet shall be at least 3mm. thick.

d)  Lighting distribution board shall have one hinged door which will cover the entire front portion.  The door shall be provided with gasket, to make the equipment dust, tight and also with insulated quick turn screws.

e)  Design shall be dead front type.  No live components shall be mounted on the door.

f)   Adequate space shall be provided for termination of  aluminium / copper cables and wires.

3.4	BUSBARS :

a) Phase and neutral copper busbars shall be provided at the top, for the entire length of  the lighting distribution board.

3.5	WIRING & TERMINAL :

a)  The Lighting distribution board shall be factory wired.

b)  Flexible copper wires shall be used for internal wiring.

c)  Elmex type terminal blocks shall be provided for all the outgoing phase wires.

d)  For neutral terminals brass neutral terminal block shall be provided. It should have spare capacity of  at  least 10%

: 9 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

3.6	CABLE ENTRY

a)  Cable entry for in-comer  shall be from bottom / top but entry for outgoing circuits shall be from top.

b)  Removable sheet steel plated shall be provided for conduit entry / cable entry.

c)  Compression type plated brass cable gland shall be provided for the incoming / outgoing cables.

3.7	MINIATURE CIRCUIT BREAKERS :

a)  Bakelite shrouds shall be provided for all the live terminals and only dollies shall project outside for operation.

b)  The dollies shall be made of  phemolic material.  The dollies made of  nylon material shall not be accepted.

c)  The MCB housing shall be made of  melamine powder.

3.8	EARTHING :

Two non earthing terminals shall be provided, on either side of  the lighting distribution board.

3.9	INSPECTION AND TESTING

a)  Inspection :

The Inspection shall consist of  following, but not limited to the same :

i)    Appearance and construction

ii)  Dimension, mounting details etc.

iii) In-comer and outgoing circuits details

iv)  Door alignment, gasket etc.

b)  Testing :

The following test shall be carried out

i)    Insulation resistance :

The Insulation resistance shall be measured between phases, between phases and neutral and between phases and earth.  The insulation resistance shall be measured with 1000 Volt meggar, both before and after the high voltage power frequency test.  The Insulation resistance shall not be than two megaohms in any case.

ii)  High voltage power frequency test :

Thia test shall be carried out by applying a voltage of 2.5 KV for a minute.

a)  between all three phases and earth

b)  between phases

c)  between phases and neutral

3.10	DRAWINGS & GUARANTEED TECHNICAL PARTICULARS :

The followings shall be submitted for consultants approval

a)  Guaranteed technical particulars for Miniature Circuit Breakers.

b)  Assembly drawing - This should incorporate dimensions weight and MCB arrangement.

c)  Mounting details

3.11	PAINTING :

All steel work shall undergo a process of degreasing, picking in acid bath, phosphatising. This shall be followed by a coat of  primer and two coats of  final finish paint, both applied with spray.

3.12	LABELS :

Engraved  PVC/Black Anodised labels shall be provided on all the incomer and outgoing circuits.

: 10 :                                    Seal & Signature of the contractor

------------------------------------------------------------------------------------------------------------------------------------------------------------------

Rashmin Bhandare

Architect

4.0	CABLING :

4.1	SCOPE :

This specification covers supply, testing, erection and commissioning of  cables as detailed under Bill of  Materials.

4.2	CABLING :

a)   Power Cables :

The L. T. Power Cables shall conform to I.S.  1554.  The conductor shall be of  copper / aluminum PVC insulated , PVC sheathed steel armoured.  The cables shall be suitable for grounded neutral system and shall be of 1100 volts grade.  The conductor size and no.  of  cores shall be as specified.

b)  Control Cables :

The control Cables shall conform to I.S. 1554.  The conductor shall be of  copper, PVC insulted, PVC sheathed 1100 volts grade, the conductor size shall not be less than 2.5 sq mm. unless otherwise specified.  The number of cores shall be as specified.

4.3	CABLE ACCESSORIES :

a)  The cable glands shall be compression type plated brass.  They shall be complete with neoprene rubber rings, two nos. galvanished M.S. washers, lock nuts etc.

b)  Cable Terminator :

Cable lugs shall be used for stranded conductors, cable lugs shall be fitted by Crimping method only.  The oxide inhibiting compound shall be used for removal of  oxide film on the conductor.  Tinned copper lugs shall be used for cables upto 35 mm2 and aluminium lugs shall be used for higher sizes.

c)  25mm x 3 mm G.I. / Aluminium strips, galvanised nuts, bolts and flat washers shall be used for cable clamping.

d)  G.I. / Aluminium cable tag markers shall be used for identification of  the cables.  The cable nos.  shall be punched on the tag markets. 16 SWG G.I. wires shall be used for fixing the cables tag markers.

4.4	ERECTION

a)  Before cable erection, phase to phase.  phase to neutral  and phase to earth insulation and continuity of  the conductor shall be ascertained.

b)  Sharp bends shall be avoided.  The bending radius shall not be less than 12 X diameter of  the cables for L.T. cables.

c)  The cables shall be clamped at every 600mm.

d)  The cable tag markers shall be fixed at every 10m. and at  strategic locations, as directed by the Engineer in charge.

e)  Holes of  appropriate sizes shall be drilled on cable glands plates of  the D.B. for cable / conduct entry and exit.  The paint around the holes shall be scraped before fixing the cable glands.  The amounring strands shall be cut, bent and clamped between G.I. washers, after glanding the cable shall not slip.

f)   Solid conductor shall be tinned before terminations.

g)  The workmanship in end termination and glanding shall be excellent.

h)  Cables shall be laid in the routes marked in the drawings.  Where the route is not marked, the contractor shall mark it  out on the drawings and also on the site and obtain the approval of  the Architect / Consultants before laying the cable.  Procurement of  cables shall be on the basis of  actual site measurements.

4.5	UNDERGROUND CABLES :

Cables shall so laid that they will not interfere with other underground structure / services.  L.T. cables shall be laid after excavating a trench of  uniform depth of  750mm.  and wide enough for laying the number of  cables.  A layer of  bricks shall be laid on the sides of the cables and then the trench shall be refilled with sand and  earth 1/2”  thick cast iron galvanised a RCC pipe of  150mm.  dia. shall be provided.  The pipe shall be laid to a depth of  1 Mt. below the surface of  the road.  The pipe shall be laid to prevent choking.

: 11 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.6	SITE TESTS :

The following tests shall be carried out :-

a)  Continuity Test :

The continuity shall be established with multimeter.

b)  Insulation Resistance Test :-

The insulation resistance shall be measured between phases, phase to neutral and phase to

earth before and after high voltage power frequency test.

c)  High voltage power Frequency Test :-

This test shall be carried out for providing phase to phase insulation, phase to neutral and

phase to earth insulation.  The cables should withstand the appropriate voltage for one

minute.

5.0	EARTHING :

5.1	SCOPE : The scope of work under this section covers the earthing of  various panels. DB’s and

utilisation equipments.

5.2	STANDARDS :

The following standards and rules shall be applicable :-

a)  IS  - 3043 / 1966 Code of  Practice for earthing.

b)  Indian Electricity Act.  1910 and rules issued there under.

5.3	PLATE ELECTRODES :

Plate type earth electrodes shall be provided at the location shown on drawing.  The plate size shall be 600 z 600 x 3mm. tinned copper plate.  The minimum depth, type of electrodes, soil treatment shall be in accordance with I.S. Code 304 / 1966 complete with masonry watering pipe, G.I. cover etc.  The number of  earthing stations shall be as shown on the drawings, and as directed Engineer-in-charge.

5.4	EQUIPMENT EARTHING :

a)  3 phase motors and other 3 phase apparatus shall have two distinct earth connections of  size equal to 50% of  the connecting cables.

b)  For 1hp. motors and  1hp. apparatus, the single earth connections  shall be provided.  For all light fittings and fans a single earth connection with 1.5 mm2 copper shall be provided.

5.5	EARTH CONTINUITY CONDUCTORS :

a)  Metallic conduit shall not be accented as an earth continuity conductor.  A separate copper earth continuity conductor of  size of  50% of  phase conductor or  16 SWG copper wire whichever is more shall be provided.

b)  The earth continuity conductor shall be clamped to the conduit at one meter intervals using approved copper earth clamps.  Binding wire is not accepted as a sub.................for earth clamps.

5.6	SIZE OF COPPER STRIPS / WIRES FOR EARTHING :

Earthing of cable boxes shall be carries out as under :

---------------------------------------------------------------------------------------------------------

S.No.	Size  of   Cable				Size  of  copper  strip  /  wire

---------------------------------------------------------------------------------------------------------

1.	a)  10 Sq. mm/4	core

b)  16 Sq. mm/4   core

c)  25 Sq. mm/3   core 			2  Nos. of  8  SWG  copper

d)  35 Sq. mm/3   core

2.	a)  50 Sq. mm/3	core

b)  70 Sq. mm/3   core

c)  95 Sq. mm/3   core 			2  Nos. of  4  SWG  copper

3.	a)  100 Sq. mm/3	core

b)  150 Sq. mm/3 core

c)  185 Sq. mm/3 core 			2  Nos. of  25  x 3 mm copper

: 12 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

4.	               a)  225 Sq. mm/ 3core

b)  300 Sq. mm/3 core 			2  Nos. of  25  x 6 mm copper

c)  400 Sq. mm/3 core 			or as directed by Architects.

d)  500 Sq. mm/3 core

---------------------------------------------------------------------------------------------------------

Earthing of  following equipments shall be done with two number copper strips of  size specified in schedule from Ring Main earthing tapped at different places.

HT Switch-gears, LT Switch-gears & Panels and Transformers.

Ground equipments :

Ground wire / strip shall either terminate on ground lugs provided on the equipments or shall be fastened to the foundation bold and the frame of  equipment.

All conduits shall be grounded with approved proper size certain flexibility in its connection to the equipment.

Suitable size of sleeves required in the wall column etc. taking earth strips across them shall be provided by the electrical contractor during the civil construction.  After laying the earth strip, the sleeve shall be properly sealed.

5.7	ERECTION :

a)  Joints : The joints of earthing conductors shall be brazed, bolted or welded. Welded surface shall be painted with red oxide and then aluminium painted.

b)  Termination : Where the diameter of  the bold, at the joints,  exceeds one quarter of  the width of  the earth continuity, the connection shall be made with a wider piece sandwiched between the two conductors.

c)  Cable / Earthing conductors supports :

i)   Cables / earthing conductors shall be fixed  on walls / cable racks.

ii)  Cable racks shall be fabricated from folded section (40 x 40 x 5 angles and 25 x 3 flats) and they shall rest and be supported on steel supports, located approx. at 3 M. apart and at salient points.  The cable racks shall be painted with two coats of  red oxide primer and two coats of  paint of  deep battleship gray colour.

iii) If  the cables / earthing conductors are run along the wall,  M.S. galvanised or Aluminium of  suitable size spacer (25mm x 30 mm thick) shall be provided at every 600mm.  The spacer shall be fixed with good quality rawl plugs and G.I. screws.

5.8	SITE TEST :

The following earth resistance values shall be measured with an approved earth meggar and  recorded : -

1.   Each earthing station.

2.   Earthing system as a whole.

3.   Earth continuity conductors.

5.9	MODE OF MEASUREMENT :

a)  Providing an earthing station, complete with excavation electrode watering pipe , soil treatment, chamber etc. shall be treated as one until of  measurement.

b)   The following item of work shall be measured and paid at unit rates covering the cost of  the earth wires / strips clamps, labour etc. :-

i)    Main equipment earthing grid and connections to earthing stations.

ii)   Connection to the power panels, distribution boards etc.

c)   The cost of  earthing the following items shall become part of  the cost of  the item itself and no separate payment for  earthing shall be made.

i)    Motors - earthing forming part of the cabling / wiring for the motors.

ii)   Isolating switches and starters - should form part of  mounting frame, switch starter etc.

iii) Light Fittings - form part of installation of light fittings.

iv)  Conduit wiring and cabling  - should form part of  the wiring of  cabling.

: 13 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

6.0	LIGHTING INSTALLATION :

6.1	SCOPE : The specification covers supply, erection, testing and commissioning of  lighting fixture plug point etc.  as detailed under bill of  materials.

6.2	STANDARDS & CODES :

The design, manufacture, erection, testing and commissioning shall comply with, but not limited to the latest issue of  the following :

IS  -  1937 (Part - III)	:  Specification for rigid PVC conduit for Electrical wiring.

IS  -   694  (Part - I)	:  PVC insulated cables with copper conductors for voltages upto 1100 V.

IS  -   732 		:  Code of  Practice for wiring installation (voltage not exceeding 650V)

IS  - 1646		:  General  code of  practice for fire safety of  building – electrical installa

IS  -  3043		:  Code of  Practice for Earthing, Indian  Electricity  rules and Fire

Insurance Regulations.

6.3	CONDUIT WIRING :-

a)  All conduits and wiring shall be completely open.  Outlet junction boxes, inspection boxes shall be provided on the surface.

b)  All conduits wiring shall conform to IS - 9537 (Part III) and shall be rigid PVC conduit accessories shall be PVC

grip type. No. PVC conduit less than 20mm dia shall be used.

c)  Conduit pipe shall be jointed by means of  couplers and accessories only.  In long distance straight runs of

conduit, inspection boxes at reasonable intervals shall be provided.

d)   The outer surface of  the conduit pipes including all bends, unions, tees, junction boxes etc. forming part of  the

conduit system, shall be adequately supported.

e)  All necessary bend in the system shall be done by bending pipes or by using standards bends, for diversion

purpose pipes shall be bent.

f)  At least 18 SWG  G.I.  wire shall be laid through the conduit to enable to pull the wires through the conduit.

g)  The conduits for concealed wiring in slab or in R.C.C.  wall shall be tied to the reinforcement bars by M.S

Galavanised wires at suitable places to give the conduits rigidity. Before installing conduits junction boxes and

inspection boxes in the brick-wall, a chase shall be made.  This work is done before plastering of  the walls is done

and shall be co-ordinating with the other agency.  After installing the conduits the chase shall be closed and shall be

finished flush with the wall.

h)  The junction boxes and inspection boxes and switch boxes shall be temporarily blocked by jute, before the

concreting is done and shall be co-ordinating with Architects.  After concreting is over, all the boxes shall be cleaned

if they are  choked up by concrete.

i)Separate earth wire of 14 SWG copper shall run along with each conduit for  earthing externally. Conduit shall not

be used as a earth medium.

ii)The conduit of  each circuit or section be completed before conductors are drawn in. The entire system of  conduit

after erection shall be tested for  mechanical and electrical continuity throughout and permanently connected to earth.

6.4	WIRE AND FLEXIBLE :

a)  Single core PVC insulated 630 volts grade copper wire shall be used for wiring.  The size of  the conductor shall be as specified in the drawings but in no case it shall be less than 15 mm2 for lighting circuit and 2.5mm2 for power circuit.  Three core PVC insulated and PVC sheathed flexible shall be used from junction box to lighting fittings / fan.  The minimum size of  flexible wire shall be 16/0.20mm. copper conductor.  Black color insulated wire shall be used for neutral conductors.  Coloured insulated wires of  respective colours shall be used  for phase conductor.

b)  The wiring shall be done in looping system.  The phase conductor shall be loped at  the switch-box for sub-circuit.

The neutral conductor for sub-circuit can be looped either from switch box or from the light / fan / socket point.

Twisted joints for looping are not acceptable.

c)  Straight through joints shall not be permitted on single core wires and flexible.

d)  Coloured insulated wires  of  respective colour shall be used for  phase conductors and black colours insulated

wires shall be used for  neutral conductors.

: 14 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

6.5	FITTINGS & ACCESSORIES :

a)  Lighting Fixture  - The lighting fixtures shall be as per the specifications enclosed.  The lighting fixtures shall be of  the type specified in the drawing.  The mounting height and location shall be as specified in the drawing.  The mounting height and location shall be as specified in the drawing.  Unless otherwise specified, the mounting height shall not be less than 2.5mm.  The lighting fixtures shall be either supported vertically of mounted on bracket  or suspended by a hook, as required.

b)  Plug Points - ( 10 amp/20 amp metal clad type )  only three pin socket outlets as per the specification enclosed shall be used.  Every socked shall be controlled by a switch which shall be located adjacent to it at operable height and wiring for socket outlet on switch box shall also be included.  The switch controlling the socket outlet shall be on the live side. The mounting and location shall be as specified in the drawing.  Unless and otherwise specified, the mounting height shall not be more than  1.5 m. above floor level.

c)  Switches  - The switches shall be 5 amps. rating for lighting sub-circuit. The switches shall be single pole, plate type.

d)  Switch Boxes  - The switch boxes shall be totally enclosed made of sheet steel concealed type.

e)  Attachment of  fitting and Accessories - All the necessary materials for the mounting and

operation of  lighting fixtures, sockets, outlets etc. such as M.S. painted down rods brackets, ball

and socket of approved make, M.S. painted down rods brackets ball and socket of  approved

make, M.S. painted junction boxes, terminals strips etc. shall be used.

6.6	INTER CHANGEBILITY :

Similar part of  all the switches, pendents, brackets, conduits and accessories etc.  of  the same type shall be inter changeable.

6.7	EARTHING :

The earth shall conform to IS 3043 - 14  SWG copper wire shall be used for earthing and the conduit.  The earthing wire shall be run continuously along the conduit.  All the earthing wires shall be connected to the earth bus provided near the distribution board.

6.8	TESTING OF INSTALLATION :

Before the installation is put into service, the following tests shall be completed with :-

a)  Insulation Resistance - The insulation resistance shall be measured by applying between earth and whole system of  conductors or any section thereof.  500 volt D.C. for single phase system by means of  a magger.  The insulation resistance shall not be less than one megaohm.

b)  Testing Earth Continuity Path - The earthing conductors shall be tested for electrical continuity.  The electrical resistance of the same along with earthing lead from the connection with the earth electrode to any point, in any point in the earth continuity conductor in the complete installation shall be less than one ohm.

c)  Testing of  Folarity of  single pole Switch  - The test shall be made to verify that all single pole switches have been fitted between the phase conductors and light / fan / socket outlet.

6.9	MODE OF MEASUREMENTS :

a)  Mains / Sub. Main Wires - Conduit wiring from lighting D.B. upto switch board and looping the phase conductor from one switchboard toother as mentioned in the single line diagram shall be treated as main / sub-mains wiring respectively.  This shall be run in a conduit separate from that of  point wiring.  The estimated length of  the conduits for the circuits wiring has given in the schedule of  quantities.  This includes the length of  conduits with different no. of wire viz. 2,4,6,8 etc.

: 15 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

b)  Point Wiring  -

i)   Point wiring shall include all work necessary to  complete wiring of  any length from the tapping point of  distribution circuit to the following via. switch bell push : -

*	Junction box / ceiling rose for light / fan points.

*	Plug points

*	Lumi-sound indicator bell / bujjer.

ii)  The following shall be deemed to be include in the point wiring ;-

*	Switch / bell push and switch box (for switch fan regulator, bell push etc.).

*	Conduit and accessories such as bends, inspection bends, tees, junction boxes etc.

*	All fixing accessories for conduits and conduit accessories such as clamps, spacers, rawal plug, G.I. screw etc.

*	Wiring  between  switch /  bell  push  and  junction  box / ceiling rose /  plug  point  / 	lumisound indicator and wiring necessary  between  switch  boards  other than mains

wiring shown in the drawing.

*	14 SWG copper earth wire all along the conduit including clamps for the same.

c)  Primary & Secondary Points - Where the lighting fixture are controlled from LDB directly, the entire wiring from LDB to the first fixture shall be treated as a primary point and with continuation of  circuit from one point to another shall be treated as secondary point.

6.10	NOS. OF WIRES IN A CONDUIT :-

The maximum number of  wires that may be laid in any conduit for circuit wiring or point wiring is given below :-

Size of  Wires 					Size of conduits mm.

1.5sq. mm.					19	25.4	31.8

2.5sq. mm.					6	8	12

4	6	10

6.11	MAKE OF ITEM :-

All the materials used in electrical works covered in this contract shall be as per the list of  preferred makes.  The contractor shall submit the list of  items and their manufacture for Architect approval.

: 16 :                                    Seal & Signature of the contractor

Rashmin Bhandare

Architect

PROPOSED FURNITURE ,CIVIL & ELECTRICAL WORK OF PEN BRANCH  PREMISES

------------------------------------------------------------------------------------------------------------------------------------------------------------------

:TECHNICAL SPECIFICATIONS:

: 17 :        Seal & Signature of the contractor

Rashmin Bhandare

Architect

Note :

a) Rate is inclusive of Scaffolding & carting away the debries from the site totally. Also all relevant permissions from

PMC, Electic Board  for higher capacity meter or any other statutory bodies and also shall have Licensed Electrician.

b) Contractor to refer Technical Specifications thoroughly & visit the site  before quoting all the following tender items

in  Bill of quantities.

c)  Only official Receipts payments  will  be made by the OICL .Any loss or damage to the Company’s property during the

progress of work shall be borne by the Contractor.

-------------------------------------------------------------------------------------------------------------------------------------------------------------------

: TECHNICAL SPECIFICATIONS FOR FURNITURE WORK :

============================================================================================

1) Low Height Glazed laminated partition 4’-0” high

Providing & fixing Low Height Partition partition made out of t.w. framework of size 2.5” x1.5” @ 24”  c/c both ways  firmly fitted to the floor. Frame work to be covered with 12mm thick exterior grade particle board on both sides of approved grade & make   finish with 1mm thick laminate of approved shade & colour on both side. Partition shall also have 12mm thick Modi make semicircular glass as per design & location ,size  & shape with machine polish edges on all sides with APPROVED ITCHING PATTERN. Glass is fitted in Brass CP D brackets Partition shall have  pin board made out of 12mm thick soft board duly treated with wood preservative in semicircular shape as per design size & shape duly covered with fabric of Rs.250/Mtr fitted to the partition with t.w.beading all around finish with 3coats of french polish of approved shade & colour in workmanship like manner Top of the frame work to be of 3” x1” t.w .runner with melamine polish of approved colour & shade.

2) Low height & Full height storage units :

( 16” /18” deep of various heights )Entire storage unit to be made out of 18 mm thick Marine plywood of approved Grade & make for cabinets with 6mm thick plywood on rear side and verticals if necessary .Finish with 3 coats of French polish from inside & 1mm thick laminate on all visible sides also  on top &  front of the openable shutters with 18mm thick plywood with edge lipping shelves in between @ 16’ c/c .rested on t.w.battens of 1” x1/2” cabinet shall have all brass hardware & satin finish 4” / 6” high handle with locking arrangement etc. complete.

3) Executive  Tables with side table:

Table Size:  BM : 2-’6” x5’-6” with storage &  Side Table : 18” x 36”

Dev.Off. & Off. : 2’3” x4’-6”   Side Tbale  : 18” x36”

Made out of 18mm thick marine plywood with 6” recess in front with t.w.lipping all around &  to be finish with 1mm thick laminate of approved colour & shade on top & Front and 2 coats of approved colour French polish underneath & on all side edges as per the specification stated above.Ttable unit ( below the table top ) to be painted with 2 coats of 1st quality luster paint ( of approved shade & colour) Rate include s/s pull handle , magnetic catches, Where as the Side Table shall have 2nos Pull out drawer & openable shutters below  other specifications as stated above.

: 18 :        Seal & Signature of the contractor

Rashmin Bhandare

Architect

4) Table with  side table including low height partition  :

Assts & Others : 2’ x 4’     Side table’ : 18” x36”

Made out of 18mm thick marine plywood with 6” recess in front with t.w.lipping all around &  to be finish with 1mm thick laminate of approved colour & shade on top & Front and 2 coats of approved colour French polish underneath & on all side edges as per the specification stated above.Ttable unit ( below the table top ) to be painted with 2 coats of 1st quality luster paint ( of approved shade & colour) Rate include s/s pull handle , magnetic catches, Where as the Side Table shall have 2nos Pull out drawer & openable shutters below  other specifications as stated above.

Rate to include .low height partition as per the  specification stated in item 1 above.

5) Running counter with low height 4’ high partition with glazing.  :-

Providing & fixing 24” wide 1mm thick laminated top running counter made out of made out of 18 mm thick Marine plywood of approved Grade & make . Counter shall have storage unit with  4” high drawer , one openable shutter with one shelf in between. Beside this wire manager, key board drawer, &  CPU stand trolley  to be provided to each member. Drawer to be made out of 18mm thick marine front& 12mm thick sides & 6mm thick bottom. Drawers are running on Twin Telescopic Drawer channels of Earl- Bihari make, approved stainless steel brush finish handles, Single lock arrangement for Drawer unit. Finish with 3 coats of French polish from inside & 1mm thick laminate on all visible sides for top & storage units

Rate to include .low height partition as per the  specification stated in item 1 above.

6)Sittting bench for visitors:

Providing & fixing 18” wide sitting bench & 9” high head rest  made out of 18” thick plywood with edge lipping finish with 1mm thick laminate on exopose edges & rest with 2 coats of French polish including necessary

surface preparation etc. complete

7) Revolving Chairs of entire staff & visitors of B.O.: Make :  Woodcarver / Methodex

As per approved design & shape ,  Basic cost of fabric Rs.250/- meter

Supplying medium back revolving chairs as per  basic specifications  stated below:-

a) 14 gauge powder coated M S stand                       b)  5 star legs with  nylon castor with gripper

c)  PU (  Polyurethane foam ) arms                            d) Gas lift with height arrangement & 1st position lock.

e) 40 density Polyurethane foam moulded for seat     f) 32 density Polyurethane foam moulded for back

g) Seat  height       19 “                                               h) Seat  width        17” / 18

8) Entrance glazed Door with LOGO :

Providing & fixing 12mm thick glass door shutter with bottom heavy duty floor spring door closure of Everite /garnish or equivalent make with necessary civil work etc. complete. Glazing shall have itching which include the COMPANY LOGO  as per design & instructions and t.w. main door framework of 6” x2” all around finish with melamine polish. Shutter shall have 18 “ high D shape s/s matt  finish pull handles.

9) Cash counter with 6’-6” side partition , front glazing & Door

P & F 27” wide writing desk x 45” high cash counter with one self standing mobile unit with 2 pull out drawers and one open able shutter below wire manager, key board drawer, &  CPU stand Finish with 1mm thick laminate of approved colour front & top of approved  shade . Counter shall have 12mm thick polish edge glazing in the front fitted on side 2” dia s/s satin finish pipe supports. All exposed wooden members / storage units to be finish with 3 coats of french polish of approved shade & colour  with necessary surface preparation etc. complete Cash partition  6’-6”  high made up of t.w.framework  of size 2.5” x 1.5” @ 2’c/c verticals & horizontals using 6mm thick marine plywood on either side finish with 1mm thick laminate of approved colour & shade and 6mm clear  glass Modi guard make  panel as per design and instructions. Glass is fitted with t.w.beading of 1” x1/2”  in workmanship like manner. Glazing shall have itching as per design.  . Partition shall also have 40mm thick solid core flush door with 4” x2” t.w. framework & side lipping of 40 x 12mm thick all around finish with 1mm thick laminate of approved colour & shade . Door shall include all brass hinges, approved make 7 lever lock & matt finish s/s handles, & powder coated brass stopper and also heavy duty door closure. Door frame work & shutter edges  to be finish with 3 coats of french polish of approved colour & shade with necessary surface preparation etc. complete.

:                                 : 19:                   Seal & Signature of the contractor

Rashmin Bhandare

Architect

10) Single / Two  Seater Sofa :

Providing & Supplying  2 seater / single seater sofa without handrest made out of  of t.w. framework with 4” & 3” if necessary including replacing the pencil hole rubber foam for seat & back with additional 25mm yellow mm high density foam to give proper  & 12mm rubber lining if necessary and cover with white cloth lining over finish with approved colour & shade tapestry ( Basic cost of the fabric Rs.350/-per Meter) above the lining cloth with the satisfaction of Architect.

11 ) Vertical blinds

Providing & fixing  4” wide Vertical blinds of heavy quality fabric  &  of approved colour & shade ( Vista/Mac/ Aeroflex make) fitted as per Manufacturers instructions including its fittings & fixtures.

12) ) Centre Table /Corner table :Supplying 12mm thick glass top centre table of size 2’ x 2’ over t.w. framework of 3” x 1 ½”  with cross bracing finish with melamine polish with necessary surface preparation etc. Complete

13) Gypsum Board False Ceiling Providing & fixing in position Gyp board false ceiling  using Gypsum India Ltd. frame work which include g.i.perimeter / intermediate channel ,suspenders ,g.i. cleats steel expansion fastner fixed to RCC ceiling,portion in grid pattern as per manufacturers instructions. 12.5 mm thick Gypsum board sheets are fitted tothe g.i.frame work with 4” high POP moulding all around Rate to include 2 coats of plastic emulsion paint over a coat of primer with necessary surface preparation & also opening for electrical fittings & fixtures. Access doors for split a.c. as per the requirements for A.C. purpose to be provided at intervals for maintenance purposes.

14) Synthetic Enamel Paint to storage cabinets :

Applying 2 coats of Synthetic Enamel  paint of Asian / nerolac make over a coat of red oxide  with necessary surface preparation to steel cupboards,  cabinets ,Slotted angle racks on external side only

15) Primary Light point wiring Supplying ,installation ,testing & commissioning of Light Point wiring using 2 Nos of 2.5 sqmm & 1no1.5 sqmm circuit wire through of 25/20mm PVC conduit with necessary accessories. All wires below the false ceiling  must be concealed. Rate quoted must be include the cost of switches ,concealed m.soutlet box, face  plate and required accessories etc. ( Make MK/ ANCHOR ROMA /NORTH WEST)i)

16) Secondary Light point wiring …do .. as item above but secondary light points are looped from single primary point i.e.on sigle point maximum 3 light  will be looped together.

17) Power point wiring :P & F 15 A power point wiring using 2 x 4 sqmm in 1no1.5 sqmm circuit wire through of 25/20mm PVC conduit from power D.B. including earthing & circuit.

18)   6 A Plug point wiring Providing wiring for  5 pin 6 A switch socket outlet from Main DB to the primary point using 3 x 2.5sq. mm. Copper conductor wires in underfloor conduit upto 6 A socket outlet mounted on concealed m.s.outlets complete with 6 A single pole switch of  approved make on partitions of  cubicles / cabin / wall, above table top areas per the approval of the Architect.  Max. 6 points to be looped in one circuit 25mm dia. rigid medium guage PVC conduits to be used for wiring from floor junction box to power points on partitions.

19) 5/15 plug Point wiring Providing wiring for 5/15 A switch socket outlet from Main DB  using  3 x 2.5sq. mm.  PVC insulated  copper  wires  upto  5/15 A socket  outlet   in  underfloor trunking / rigid PVC conduit of  25mm dia. medium gauge ISI concealed in wall or & through partition of  cubicles with 5/15  single pole switch & socket mounted on concealed m.s. outlets complete.

:20:                               Seal & Signature of the contractor

Rashmin Bhandare

Architect

20) Computer Point wiring with Lan Cabling & Raceways and raw power point :Providing Computer Socket point wiring for a cluster of  3 Nos. 6 A socket outlets on below work station on 8module plate & 1 No.16 A SP switch with indicator above workstation for Computer point from UPS DB using 3 x 2.5sq. mm. PVC insulated copper conductor wires in underfloor conduit. With 2.5 Sqmm x2 wire & 1.5 sq.mm as earth wire &  Max. 4 Nos. clusters to be connected on same  circuit. Switch and sockets to be mounted on PVC boards on partitions of  furniture or on hot  dipped GI boxes concealed in wall with interconnections complete as per finals approval of  Architect / Consultant 25mm dia. Rigid medium guage PVC conduits to be used for wiring from floor junction box to power points on partitions./wall.

Rate to include :- CAT-6 + 4 pair LAN cable ( D Link make with 0.5sq. mm. Copper conductor in under floor trunking & through partition of  cabins / cubicles  in a 25mm rigid medium guage PVC conduit of 25mm dia. ISI mark with complete accessories upto modem jack for computers including  RJ-45 I/O outlets with face plates, Cat-6+ E mounting chords 2 Mtr.of Dlink make with required accessories and mounting PVC surface box for computers to be fixed on partitions of  cabins & cubicles. And also cripping from computer point to the main server..Also supply & installation of under floor ALUM. 2way Race way of  size 80 x 40 mm 1.6mm thickRaceways to be installed after cutting existing  flooring & redo the same with matching  vitrified tile flooring in workmanship like manner including the sand ,cement etc and also supply & installation of 14 SWG G.I. junction boxes of size 300 x 300 x 50mm /   600 x600 x50mm as per location & instructions with s/s mat finish CoverAlso Providing wiring for Raw power 5 pin 6 A switch socket outlet from Main DB to the primary point  using 2.5sq. mm. x  & 1.5sqmm as earth wire circuit  Copper conductor wires in under floor conduit up to 6 A socket outlet mounted on PVC board complete with 6 A single pole switch of  approved make on partitions of  cubicles / cabin / wall, above table top areas per the approval of the Architect. Max. 4 points to be looped in one circuit 2.5sq. mm. x 2 & 1.5sqmm as earth wire 25mm dia. Rigid 16 guage PVC conduits to be used for wiring under from floor junction box to power points on partitions / wall. Make MDS Crabtree / Vinay (Corom)

Note: After execution of Lan Cabling Job Contractor will be required to Submit site Certification for ENTIRE LAN CABLING INSTALLATION  WORK FROM THE AUTHORIZED DEALER.

21) Telephone points Supply, installation, testing and commissioning of  telephone point RJ 11Socket one module plate &module box to be fixed on PVC board for cubicles / cabins. / Wall Make : Finolex / Delton / Polycab

a) Using 5 pair 0.5sqmm telephone cable from EPABX / Junction box to independent socket outlet

b)  Using 10  pair 0.5sq. mm Telephone Armoured cable under floor trunking / 25mm dia Medium guage PVCconduit on wall / partitions of cabins / cubicles with complete accessories

c) Using 20 pair o.5 sq.mm telephone Armoured cable under floor trunking / 25mm dia. Medium guage PVC conduit PVCconduit on wall / partitions of cabins / cubicles with complete accessories

d) Supply, installation, testing and commissioning of  100 pair krone type telephone tag-block and 100 pair module with termination & crimping etc.complete. and terminating the cable into 20 pair Tag block tag block. & crimping etc. complete. Rate to include all connectivity,crimpping  to all instruments including IP phone

22) Electrical Fittings & fixtures:

Supply, installation ,testing &commissioning of light fixture of their standard accessories and complete with connections ’

1) 2 x36 w LED 2’ x2’ LED Light Fixtures consists of Electronic Ballast Crescent Recess mounted Mirror optic fitting  with paralite louvers of Wipro make with 4nos CFL 36w lamps suspended from ceiling on m.s. rod with ball & socket arrangement.

2) 2 x 18 W Recess mounted down lighter fittings 8”x8” Low depth square  down lighter with satin finsh reflector and ribbed diffuser with 2 nos 18w LED  lamps and required accessories.

3) 1 x40 w side tube light fittings with copper ballast & 1no.40 w lamp and complete switch connections

: 21:                      Seal & Signature of the contractor

Rashmin Bhandare

Architect

23) A.C.Point wiring

Providing & fixing a.c.point wiring with 20A ray Rolled Socket ( industrial Type) 20 ASPMCB in enclosure of ISI make including plug top . Rate is inclusive of cable of 4core x2sqmm from main D.B. to a.c. point including brass cable glands

24) Distribution Board with MCB & Isolators

Supply Installation,Testing & commissioning of Distribution Boards complete with MCBs /Isolators / Bus bars and interconnections. No fabricated DBs shall be allowed .Only DBs with specified makes as the list of materials shall be used ( DOUBLE DOOR IP4

2)TPN 4 way as follows

1) Incomer  25 A / 100A / 4PELCB ---- 1No

Outgoing 10A / 16A / 20 A SPMCBs- 12 Nos

2) SPN as follows

Incomer 40A /2PELCB /100A - 1No

Outgoing 10A SPMCBs -- 8 Nos

3) Incomer 40 A DPMCB  1No

Outgoing 10A/16 A SPMCBs- 6Nos

(UPS DB1)

4) SPN as follows

Incomer 40 A DP MCB - 1No

Outgoing 10A /16 A SPMCBs- 8Nos

(UPS DB 1 )

: 22:               Seal & Signature of the Contractor

Rashmin Bhandare

Architect

:BILL OF QUANTITIES:

: 23:               Seal & Signature of the Contractor

| RASHMIN BHANDARE ARCHITECT |  |  |  |  | Page No. 1/3 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TENDER FOR INTERIOR WORK OF PEN BRANCH OFFICE FOR THE ORIENTAL INSURANCE CO.LTD |  |  |  |  | MRO3 |  |  |  |
| Item | Description | Quantity | Unit | Rate | Amount ( Rs.) |  |  |  |
| A | Furniture work |  |  |  |  |  |  |  |
| 1 | Low height partition | 95 | SFT |  |  |  |  |  |
| 2 | Low height & Full height storages | 185 | SFT |  |  |  |  |  |
| 3 | Repairs to extg. glazing in the wall of in BM's cabin | 32 | SFT |  |  |  |  |  |
| 4 | Executive tables with side tables | 4 | NOS |  |  |  |  |  |
| 5 | Table with side table including low height partition | 5 | NOS |  |  |  |  |  |
| 6 | Running counter with low height partition | 8 | RFT |  |  |  |  |  |
| 7 | Sitting bench for visitors | 9.5 | RFT |  |  |  |  |  |
| 8 | Revolving chairs for entire staff & visitors in B.O. | 21 | NOS |  |  |  |  |  |
| 9 | Entrance glazed door with Company Logo | 32 | SFT |  |  |  |  |  |
| 10 | Cash Counter with front & Side glazed partition with door | 5 | RFT |  |  |  |  |  |
| 11 | New Two seater sofa | 2 | NOS |  |  |  |  |  |
| 12 | New Single seater sofa | 1 | NOS |  |  |  |  |  |
| 13 | Vertical blinds to windows | 140 | SFT |  |  |  |  |  |
| 14 | Centre Table / Corner Table | 3 | NOS |  |  |  |  |  |
|  | Total of Section A ( Furniture work ) |  |  |  |  |  |  |  |
| B | False ceiling, & Miscellaneous works |  |  |  |  |  |  |  |
| 1 | Gypsum Board false ceiling | 1220 | SFT |  |  |  |  |  |
| 2 | Toilet accessories in Gents & Ladies toilets Which include towel ring, liquid soap dispenser, Air freshener of Air Quick, towel rod ,hook patty etc. | LS |  |  |  |  |  |  |
| 3 | Mirror ( 18: x24”) above wash basin in Gents & Ladies toilet | 2 | NOS |  |  |  |  |  |
| 4 | Rolling shutter for the main entrance door | 68 | SFT |  |  |  |  |  |
| 5 | Enamel Painting of Cabinets ,Cupboards & racks on external side only. | LS |  |  |  |  |  |  |
|  | Total of Section B ( False ceiling & Miscellaneous works ) |  |  |  |  |  |  |  |
|  | Seal & Signature of the contractor | : 24: |  |  |  |  |  |  |

| RASHMIN BHANDARE ARCHITECT |  |  |  |  | Page No. 2/3 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TENDER FOR INTERIOR WORK OF PEN BRANCH OFFICE FOR THE ORIENTAL INSURANCE CO.LTD |  |  |  |  | MRO3 |  |  |  |
| Item | Description | Quantity | Unit | Rate | Amount ( Rs.) |  |  |  |
| C | Electrical work |  |  |  |  |  |  |  |
| 1 | Lighting / Raw main Distribution Board including necessary cabling & MCBs,ELCB for entire office | JOB |  |  |  |  |  |  |
| 2 | Extension of Primary light point wiring | 14 | NOS |  |  |  |  |  |
| 3 | Extension of Secondary point wiring | 5 | NOS |  |  |  |  |  |
| 4 | Extension of Half socket point on lighting boards | 5 | NOS |  |  |  |  |  |
| 5 | 15A plug point wiring | 5 | NOS |  |  |  |  |  |
| 6 | 5/15 plug power point wiring | 5 | NOS |  |  |  |  |  |
| 7 | Computer points with lan cabling | 12 | NOS |  |  |  |  |  |
| 8 | 2'x2' 36 w ceiling mounted LED Mirror optic fixtures | 10 | NOS |  |  |  |  |  |
| 9 | 2 x18w LED recess mounted down lighter | 4 | NOS |  |  |  |  |  |
| 10 | Removing & refining of tube light fittings | 5 | NOS |  |  |  |  |  |
| 11 | Telephone points with 5 pair wires | 5 | NOS |  |  |  |  |  |
|  | Total Amount of Electrical work ( Rs.) |  |  |  |  |  |  |  |
| D | ELECTRICAL CABLING WORK |  |  |  |  |  |  |  |
| 1 | P & F 4 core x10sq.mm copper armoured cable with | 50 | RMT |  |  |  |  |  |
|  | earthing |  |  |  |  |  |  |  |
| 2 | 2 core 6sqmm armoured cu. cable with earthing. | 140 | RMT |  |  |  |  |  |
| 3 | P & F main D.B.for A.C.with 12 nos 32Amp SPMCB & | 1 | Set |  |  |  |  |  |
|  | 1No.63 A 4Pole MCB with powder coated cover |  |  |  |  |  |  |  |
| 4 | P & F cable glands for termination | 23 | Nos |  |  |  |  |  |
| 5 | P & F.A/C box with socket top & MCB | 3 | Nos |  |  |  |  |  |
|  | Total Amount of Electrical cabling work ( Rs.) |  |  |  |  |  |  |  |

| Seal & Signature of the contractor | : 25: |
| --- | --- |

| RASHMIN BHANDARE ARCHITECT |  |  | Page No. 3/3 |  |
| --- | --- | --- | --- | --- |
| TENDER FOR INTERIOR WORK OF PEN BRANCH OFFICE FOR THE ORIENTAL INSURANCE CO.LTD. |  |  |  |  |
| MRO3 |  |  |  |  |
|  | SUMMARY |  | Amount ( Rs.) |  |
|  | A) Furniture work |  |  |  |
|  | B) False Ceiling & Miscellaneous works |  |  |  |
|  | C) Electrical work |  |  |  |
|  | D) Electrical cabling work |  |  |  |
|  | Grand Total Amount ( Rs.) |  |  |  |
|  | ( Rupees ………………………………………………………………………………………………) |  |  |  |
|  | ( INCLUSIVE OF VAT,ST & OTHER RELEVANT TAXES ) |  |  |  |
|  | Seal & Signature of the contractor | : 26: |  |  |

Rashmin Bhandare

Architect

:REFERENCE DRAWING :

| Seal & Signature of the contractor | : 27: |
| --- | --- |